Annexure

Wanting Information in the BSP Application of GRIDCO for FY 2012-13

- GRIDCO may submit the actual PLF achieved by the CGSs during the last two financial years and also for the current year upto November, 2011 along with the latest monthly REA prepared by ERPC. Similarly, GRIDCO may also submit the actual PLF achieved by the State Thermal Stations during the FY 2010-11 & 2011-12 (upto date).

- Month-wise generation plan (Load Generation Balance Report or LGBR) for Central Sector Power Stations prepared by ERPC for the FY 2011-12 may please be submitted.

- The energy bills for the month of October & November, 2011 of all the generators (both state & central sector) supplying power to GRIDCO along with all enclosures may be submitted.

- In respect of Central Generating Stations (both for Thermal and Hydro), GRIDCO may submit the latest share allocation to the State by the Ministry of Power along with present installed capacity.

- At para 1.7 of the BSP application GRIDCO has indicated that 6 nos of generating units of 3 nos. of IPPs are expected to be commissioned during 2012-13. The present status and progress of the work of such IPPs may be furnished.

- GRIDCO has proposed to procure 122 MU from the Bio-mass power plant developed by M/s Salivahan Green Energy Ltd. during FY 2012-13. The present status of plant and the schedule date of commissioning may be intimated.

- GRIDCO may also submit the present status of the 8 nos. 1 MW Solar PV projects along with their date of commissioning/scheduled date of commissioning.

- At Para-1.5 (b) of the application at page 13, GRIDCO, has indicated that for fulfillment of RPO availability of Renewable Energy has become a constraint and for this purpose it may require to purchase REC which would entail higher cost to GRIDCO as per the prevailing market price. GRIDCO has prayed the Commission to allow such additional cost in the ARR of FY 2012-13. GRIDCO may submit and estimate of such additional cost considering the proposed procurement of Renewable Energy from different sources considering the present market price of RECs for different sources and  RPO for the FY 2012-13.

- GRIDCO may intimate about any possibility of  procuring additional power from any existing/new CGPs during the ensuing year 2012-13.

- In para-2 of the application, it is observed that the drawl of emergency power by CGPs during 1st half of the current year is 341.76 MU. But the same for the ensuing year 2012-13 has been projected at 10 MU. This may be clarified.

- In page 28 of GRIDCO’s filing, the fixed cost of OPGC for FY 2012-13 has been projected at Rs.177.92 cr. against the approval of Rs.165.84 cr. for FY 2011-12. The details of such an increase along with supporting documents may be furnished.

- The assumption for calculation of variable charges of OPGC for FY 2012-13 may be verified by GRIDCO as the variable charges arrived at appears to be very high. The supporting documents for coal and oil prices may be submitted.

- During FY 2010-11 and 2011-12 (upto date) what was the percentage of imported coal blended at Ib thermal station (OPGC)? The details may be furnished.

- In the proposed Year- End Adjustment (YEA) charges of OPGC for FY 2011-12, Rs. 5.04 cr has been claimed towards Water Cess and Water Charges against the approval of Rs.0.76 cr. for FY 2010-11 and 2011-12. The reasons with supporting documents to substantiate for such an increase in Water Cess and Water Charges may be furnished.

- The final tariff for the power to be procured from M/s Sterlite Energy Ltd. & M/s Arati Steels is to be fixed by CERC as it is an inter-State power project. The status of the same may be intimated. Further more the status of filing the revised/amended PPAs of these IPPs may be intimated.

- The proposed rate for Tala power & Chhuka Power may be supported with evidential documents.

- A statement with supporting documents showing year-end charges like Water Cess, FERV, ED, incentives etc. may be submitted for the year 2010-11 and 2011-12 (upto November ’11) for all the generating stations.

- In the Table at Page-33 of the application of GRIDCO, an amount of Rs.12.877 crore has been projected for the FY 2012-13 towards year-end adjustment charges of Central Generating Stations. Item-wise details in respect of each station may be furnished with supporting documents.

- For the FY 2012-13, GRIDCO has projected different percentage of Transmission Loss in the EREB system in respect of power procurement from different Central Generating Stations. A note on the basis of such calculation along with station wise computation sheets may be submitted. Further, the actual loss in the Central Transmission System for the year 2010-11 and 2011-12 (upto date) may be furnished.

- At page 42 of the application, GRIDCO has projected an amount of Rs.4.51 Cr. towards receipt from short-term open access customers for FY 2012-13 based on July & August 2011 figures. Month-wise details of the same for the FY 2011-12 (upto date) may be furnished.

- CERC has already notified the CERC (Sharing of Inter-State Transmission Charges and Losses) Regulations, 2010 which has been implemented with effect from 01.07.2011. It is understood that its monthly impact in transmission charges of PGCIL is about Rs.5 cr./month with an annual impact of Rs.60 cr.. GRIDCO may intimate the action taken to file review petition in CERC/ Appeal application before ATE etc.. Also GRIDCO may intimate the up-to-date status report on payment of revised transmission charges of PGCIL.

- PGCIL has claimed the transmission charge for central sector power procurement based on approved POC rate with effect from July 2011. GRIDCO should submit a comparative analysis of previous method and present method of calculation of transmission charges along with a brief note.

- Monthly polled cost of power purchase by GRIDCO from the month of April 2011 to November 2011 & cumulative figure up to November 2011 may be furnished.

- The following TRT formats are not filled in. The same may be filled in and resubmitted to the Commission.

TRT – 3: Assessment of `consumption.

TRT – 4: Monthly assessment of consumption.

TRT – 5: Assessment of Demand.

TRT – 6:  Input to Odisha Grid

TRT --7:  Output of EHT Grid S/S excluding Auto Transformer.

TRT – 8   Calculation of Transmission Loss in EHT  System.

TRT – 9: Tariff calculation for TTPS (NTPC).

TRT – 15: Fuel Price Adjustment (now Variable Cost) for Thermal Stations (Except OPGC).

TRT – 25: Details of Export.

- Audited Accounts for the FY 2010-11 has not been submitted.

- Monthwise cash flow statement for the FY 2010-11 along with 2011-12 (Actuals upto November, 2011) may be submitted.

- In TRF-3 GRIDCO borrowed an amount of Rs.1640.71 cr. during 2010-11 and proposes to borrow an amount of Rs.838.28 cr. during 2011-12. Details of terms and conditions of such borrowing with calculation of interest on the above loans may be furnished in electronic copy.

- Total amount of escrow relaxed by GRIDCO to DISCOMs under different heads such as salary, R&M may be submitted for FY 2011-12 (Actuals upto Nov’2011).

- Actual cash outgo on account of pay, GP, DA, ADA, HRA etc. of employees of GRIDCO for the month from July, 2011 to November, 2011 may be furnished.

- Amount received from DISCOMs towards installment of securitized amount during 2011-12 (actuals upto November, 2011) may be furnished.

ORISSA ELECTRICITY REGULATORY COMMISSION

BIDYUT NIYAMAK BHAVAN

UNIT – VIII, BHUBANESWAR – 751 012

*** *** ***

Case No.  91/2011

Date:       .12.2011

To

The Chairman-cum-Managing Director,

GRIDCO Ltd. 	Janpath, Bhubaneswar.

Sub:	Annual Revenue Requirement & Tariff Application of GRIDCO for 2012-13, Case No. 91/2011.

Sir,

On scrutiny of the above application, it has been noted that information and analysis with regard to a number of items which are extremely relevant for the purpose of scrutiny of Revenue Requirement and Tariff for the FY 2012-13 have not been furnished. An Annexure indicating items on which information/clarification are needed is enclosed.

You are hereby directed to furnish the information as per the queries raised in the said Annexure by 31.12.2011 positively. The queries raised in this letter along with the replies shall be supplied to all the persons who might purchase the documents.

Yours faithfully,

Encl: As above.

Director(Tariff)