Annexure

Wanting Information in the BSP Application of GRIDCO for FY 2011-12

- As per OPGC the PLF would to 86.90% using 2.3% blended coal where as GRIDCO has projected the same at 86.32%. The reasons may please be explained.

- While calculating the drawl of energy from Central Thermal Generating Stations (CGSs), GRIDCO has taken different PLF for different stations. GRIDCO may submit the actual PLF achieved by the CGSs during the last two financial years and also for the current year upto November, 2010 along with the latest monthly REA prepared by ERPC. Similarly, GRIDCO may also submit the actual PLF achieved by the State Thermal Stations during the FY 2009-10 &2010-11 (upto date).

- Month-wise generation plan (Load Generation Balance Report or LGBR) for Central Sector Power Stations prepared by ERPC for the FY 2010-11 may please be submitted.

- The energy bills for the month of November,2010 of all the generators (both state & central sector) supplying power to GRIDCO along with all enclosures may be submitted.

- In respect of Central Generating Stations (both for Thermal and Hydro), GRIDCO may submit the latest share allocation to the State by the Ministry of Power.

- For different Central Sector Thermal Stations, GRIDCO has considered income tax as additional capacity charge. The supporting documents in this regard with month wise statement for the last year 2009-10 and current year (up to date) may be submitted.

- The loss in the EREB system has been projected by GRIDCO at 3.09% for 2011-12. Actual loss in the Central Transmission System for the year 2009-10 and 2010-11 (upto date) may be furnished.

- At para 1.7 of the BSP application GRIDCO has indicated that 9 nos of IPPs are expected to be commissioned during 2010-11 & 2011-12. The present status and progress of the work of such IPPs may be furnished.

- The drawal from CGPs and cogeneration plants have been projected at 1257.06 MU and 512. 46   respectively by GRIDCO for the year 2011-12. Comparing to the actual drawal of the first 6 months of the current year, the assessment for the next year appears to be on lower side. This may be clarified. GRIDCO may also intimate about any possibility for procurement of power from any new CGPs during the ensuing year 2011-12

- In para-2 at page 14 of the application, it is observed that the drawl of emergency power by CGPs during 1st half of the current year is 114.40 MU. But the same for the ensuing year 2011-12 has been projected at 10 MU. This may be clarified.

- The proposed tariff for Central Sector Thermal Stations and TTPS may be supported by evidential documents i.e. abstract of CERC orders. Further, abstract of NTPC filling before CERC in respect of the tariff of such power stations for which order to be issued w.e.f. 01.04.2009 as per the CERC (Terms and Conditions of Tariff) Regulations 2009 may also be furnished.

- The final tariff for the  power to be procured from M/s Sterlite Energy Ltd. & M/s Arati  Steels  is to be fixed by CERC as it is an inter-State power project. The status of the same may be intimated. Further the reasons for taking the minimum  price proposed  for CGPs in the application as the rate of power from M/s Sterlite Energy Ltd.& M/s Arati Steels  may also be furnished. Further more the status  of submitting the revised PPA of these IPPs  may be intimated.

- The proposed rate for Tala power & Chhuka Power may be supported with evidential documents.

- A statement with supporting documents showing year-end charges like Income Tax, Water Cess, FERV, ED, incentives etc. may be submitted for the year 2009-10 and 2010-11 (upto November ’10) for all the generating stations.

- In the Table at Page-27 of the application of GRIDCO, an amount of Rs.20.719 crore  has been projected for the FY 2011-12 towards year-end adjustment charges of Central Generating Stations. Item-wise details in respect of each station may be furnished with supporting documents.

- GRIDCO’s proposal of sharing of PGCIL transmission charges (para 7 at page-32) towards regional and inter-regional transmission systems at 14.10% and 21.75% respectively should be substantiated by submitting necessary documents and calculations.

- In the table on PGCIL transmission charges for 2011-12 appearing in page 32 of the application, GRIDCO has projected an amount of Rs15.80 crore towards ULD and communication charges for the year 2011-12 .Necessary supporting documents in this regard may be furnished.

- At page 32 of the application, GRIDCO has not projected any amount towards receipt from short-term open access customers for FY 2011-12. Month-wise details of the same for the FY 2009-10 and 2010-11 (upto date) may be furnished.

- Monthly polled cost of power purchase by GRIDCO from the month of April 2010 to November 2010 & cumulative figure of to November 2010 may be furnished.

- The following TRT formats are not filled in. The same may be filled in and resubmitted to the Commission.

TRT – 3: Assessment of `consumption.

TRT – 4: Monthly assessment of consumption.

TRT – 5: Assessment of Demand.

TRT – 9: Tariff calculation for IPPs  (Arati & SEL).

TRT – 15: Fuel Price Adjustment for Thermal Stations.

TRT – 18: Income tax for generators.

TRT – 19: Water tax and cess for thermal stations.

TRT – 25: Details of Export.

TRT – 26: Details of Power Purchase Cost.

TRT – 27: Summary of UI.

- In TRF-3 GRIDCO borrowed an amount of Rs 1213.00 crore and proposes to borrow an amount of Rs 1737 crore during FY 2009-10 & 2010-11 respectively. Detailed terms and conditions of such loan along with calculation of interest on the above and loans may be furnished in electronic copy.

- Month wise cash flow statement for the financial year 2010-11 (Actual up to November) may be submitted.

- Total amount of escrow relaxed by GRIDCO to DISCOMs under different heads such as salary, R&M etc. may be submitted for FY 2010-11 (Actual up to Nevember-2010) month wise.

- In TRF-6, GRIDCO estimated earning from UI to the tune of Rs 253.95 Crore during 2010-11. Reasons for not showing any earning from UI during 2011-12 may be clarified.

- Audited Account for the Financial Year 2009-10 may be submitted.

- Actual cash outgo on account of pay, GP, DA, ADA, HRA of the employees of GRIDCO for the month from August, 2010 to November, 2010 may be submitted.

- Amount received from DISCOMs towards installment of securitized amount during 2010-11 (Actual up to November, 2010) may be submitted.

ORISSA ELECTRICITY REGULATORY COMMISSION

BIDYUT NIYAMAK BHAVAN

UNIT – VIII, BHUBANESWAR – 751 012

*** *** ***

Case No.  144/2010

Date:       .12.2010

From

P.K.Swain,

Secretary

To

The Managing Director,

GRIDCO Ltd.

Janpath, Bhubaneswar.

Sub:	Annual Revenue Requirement & Tariff Application of GRIDCO  for 2011-12, Case No. 144/2010.

Sir,

On scrutiny of the above application, it has been noted that information and analysis with regard to a number of items which are extremely relevant for the purpose of scrutiny of Revenue Requirement and Tariff for the FY 2011-12 have not been furnished. An Annexure indicating items on which information/clarification are needed is enclosed.

You are hereby directed to furnish the information as per the queries raised in the said Annexure by 31.12.2010 positively. The queries raised in this letter along with the replies shall be supplied to all the persons who might purchase the documents.

Yours faithfully,

Encl: As above.

SECRETARY