Annexure

Wanting Information in OPTCL’s ARR Filing for FY 2011-12

TECHNICAL:

- There is mismatch between the Ckt. Km. of EHT lines and No. of S/Ss submitted in the ARR with those submitted in the annual statement of system performance for the FY 2009-10. This needs to be reconciled. The following Table clarifies the quantum of mismatch in the OPTCL’s various filings.

| Lines & S/S as on 01.04.10 in Ckt. Km. & No. | As submitted in ARR filing | As submitted in the annual statement of system performance for 2009-10 |
| --- | --- | --- |
| 400 kV line (Ckt. Km.) | 521.935 | 446.1 |
| 400 kV line (Ckt. Km.) | 5517.425 | 5164.4 |
| 132 kV line (Ckt. Km.) | 5207.586 | 5144.3 |
| 220/132/33 kV S/S (No.) | 20 | 19 |
| 132/33/11 kV S/S (No.) | 64 | 62 |

- The CERC Tariff Regulation-28 stipulates target Normative Annual Transmission System Availability factor (NATAF) at 98% for AC system for recovery of full transmission charges. OPTCL, therefore, should compute system availability for its own transmission network for FY 2009-10 & FY 2010-11 (April to November, 2010) and submit it to the Commission. The transmission availability may be computed following the procedure for calculation of transmission system availability as laid down in Appendix -IV of the aforesaid CERC Regulation.

- The Commission had approved Rs.60 crore for R&M expenditure during FY 2010-11. The status of expenditure against Master Maintenance Plan (MMP) for 2010-11 as on 30.11.2010 may please be furnished.

- OPTCL at Page 33 of its ARR application for FY 2011-12 specified that the revenue receipt from STOA charges for FY 2011-12 is to be considered as zero. OPTCL may clarify and furnish the actual volume of energy handled and receipt of STOA charges from STOA customers during  FY 2009-10 and FY 2010-11 (April to November, 2010) for the information of the Commission.

- The Commission in its order dtd.20.03.2010 while passing order on ARR & Transmission Tariff for FY 2010-11 approved wheeling to industries from CGP of 300 MU and sale to CGPs by GRIDCO of 10 MU. OPTCL may furnish the actual quantum of inter & intra-state wheeling and sale to CGPs during FY 2009-10 and 2010-11 (from April to November, 2010). OPTCL may also indicate the receipt towards supervision charges during FY 2009-10 & FY 2010-11 (from April to November, 2010) and the projected receipt of such charges upto March 2011.

- OPTCL has proposed at Page 37 of its ARR application for FY 2011-12 ,Meter Rent @ Rs.2000 per Month. OPTCL may substantiate these with supporting documents and reason for such claim and also mention from whom the same will be recovered.

- Information required under the following formats have not been furnished or partly furnished.

a)	TRL No.		Name of TRL				Remarks

TRL – 1  Information required for Transmission Tariff	not filled up

TRL – 3  Abstract of Grid sub-station			not filled up

TRL – 9  Abstract of Transmission lines and grid 		not filled up

Sub-stations.

b)	TRP No.		Name of TRP				Remarks

TRP – 2                Electrical Accidents 			not filled up

TRP – 4                Frequency Excursion			not filled up

TRP – 5	     Failure of Transformer (Nos)		Partly filled up

c)	TRT No.		Name of TRT				Remarks

TRT – 6	Input to Orissa grid 				not filled up.

TRT – 7	Output of EHT Grid sub-stations		not filled up

Excluding auto transformer

TRT – 8	Calculation of Transmission

Loss of EHT system 				 not furnished.

- Details of Transmission Projects during 2007-08,2008-09

2009-10 & 2010-11 (upto Nov,10)  at Annexure-A		Partly filled up

Further, OPTCL is directed to furnish the upto date progress achieved in respect of all the Transmission projects and individual cost of the project out of the Package cost.

- OPTCL at Table-17 has proposed to spend an amount of Rs.591.62 crore on Transmission related infrastructure during FY 2011-12 in order to increase the overall system capacity and strengthen the Transmission Network in the state. On scrutiny, it is observed that there is mismatch in the expenditure proposed in ARR filing for FY 2011-12 vis-à-vis the phasing of expenditure as submitted in the Business Plan i.e. Rs. 720.38 Cr & the same was approved by the Commission . OPTCL is directed to clarify the mismatch.

- A table and a pie-chart indicating the duration and nature of interruption of transmission system of OPTCL during 2009-10 & 2010-11 (upto November,2010) may be furnished. Further, OPTCL is required to explain the reason and action taken to avoid such type of interruptions in future.

FINANCE:

- Audited Accounts for the financial year 2009-10 is not available. The same may be submitted.

- In format TRF-2 OPTCL proposes capital expenditure of Rs.389.35 crore and Rs.1004.24 crore during FY 2010-11 and 2011-12 respectively. The actual capital expenditure during first 6 months of the current financial year 2010-11 is only to the tune of Rs.10.78 crore. OPTCL is, therefore, required to furnish the plan of action to spend balance amount of Rs.378.57 crore (389.35 – 10.78) towards Capex in the next six months of the current financial year 2010-11.

As under corporate social responsibility what is being proposed for 2011-12 including provision of physical infrastructure to encourage sports among the employees of the power sector.

- In form F-3, OPTCL proposes to raise an amount of Rs.349.69 crore of loan during 2010-11 for new projects. Actual loan raised from the financial institutions till November 2010 of the financial year may be given. The nature of budgetary support likely to be received from State Govt. during 2011-12 may also be indicated in detail.

- The electronic copy of the calculation of interest shown in Format TRF-3 may be submitted.

- The following information relating to number of employees may be submitted:

  - No. of employees as on 1.4.2009

  - Induction of new employee during 2009-10

  - Retired during 2009-10

  - No. of employees as on 31.03.2010

  - Induction of new employee during 2010-11 (actuals upto November 2010)

  - Retired during 2010-11 (actuals upto November 2010)

  - No. of employees as on 31.03.2011

- The employees cost for the FY 2011-12 includes an amount of rs.629.69 crore (Rs.559.57 + Rs.42.22 + Rs.27.90) towards terminal benefit. OPTCL is required to submit a statement of investment details of amount available in trust fund upto 2010-11 (actuals upto November 2010). Further the actuals cash out go on account of terminal benefit during 2009-10 and 2010-11 (actuals upto November 2010) may be submitted.

- Month wise details of basic pay, grade pay, DA, HRA, etc drawn from August 2010 to November 2010 of the FY 2010-11 may be submitted.

- OPTCL is required to submit audited actuals of expenditure on repair maintenance for the FY 2009-10 and actuals upto November 2010 of the FY 2010-11.

- Utilization of contingency reserve as approved by the Commission in previous years may be submitted.

- Month wise cash flow statement considering the revenue items only for the FY 2009-10 and 2010-11 (actuals upto November 2010) may be submitted.

- The licensee is required to furnish fixed asset register upto 31.03.2010. Also the amount of fixed asset which has already exhausted 90% of its book value may be furnished in details.

- In TRF-9, the gross receivable at the end of the year i.e. 31.03.2010 is shown at Rs.105.58 crore from GRIDCO and others. Detailed analysis ofsuch debtors and the period from which the above amount remains outstanding as per books of accounts along with reasons may be furnished.

- It is revealed from the audited accounts of 2008-09 that OPTCL has invested an amount of Rs.61.21 crore in fixed deposit. Details of such deposit along with terms and conditions may be furnished.

ORISSA ELECTRICITY REGULATORY COMMISSION

BIDYUT NIYAMAK BHAVAN

UNIT – VIII, BHUBANESWAR – 751 012

*** *** ***

Case No. 145/2010

Date:23.12.2010

From

Secretary

To

The Managing Director,

OPTCL,

Janpath, Bhubaneswar.

Sub:	Annual Revenue Requirement & Tariff Application for 2011-12, Case No. 145/2010.

Sir,

On scrutiny of the above application, it has been noticed that information and analysis with regard to a number of items which are extremely relevant for the purpose of scrutiny of Annual Revenue Requirement and Tariff for FY 2011-12 have not been furnished. An Annexure indicating items on which information/clarification are needed is enclosed.

You are hereby directed to furnish the information as per the queries raised in the said Annexure by 31.12.2010 positively. The queries raised in this letter along with the replies shall be supplied to all the persons who might purchase the documents.

Yours faithfully,

Encl: As above.

SECRETARY