Query on the SOUTHCO’s ARR Filing 2016-17

TECHNICAL

- OERC (Terms and Conditions of Determination of Wheeling Tariff and Retail Supply Tariff) 2014 has been notified in Odisha Gazette on dt.20.12.2014. As per Reg 5.1 the licensee have to submit the long term Business Plan to the Commission for approval. But DISCOMs have not yet submitted the same.  Hence the licensees should submit the Business Plan for the ensuing year as per the provision of the aforesaid regulation at earliest.

- The Licensee should submit the Road Map for energy audit and action plan for reducing AT & C loss within their area of operation.

- The BPL data submitted by DISCOMs were analyzed and presented in the table below. The Consumer growth and per capita consumption projected by the DISCOMs for FY 2016-17 seems to be higher side which may be justified. Further, the licensee should submit the number of consumers covered under billing fold.

| Except CESU none of the DISCOMs have submitted the segregation of Technical and Commercial loss in LT feeders. The Technical loss in 33 KV, 11 KV and LT feeders along with the methodology for segregation of Technical and Commercial loss may be submitted. |  | CESU | NESCO | WESCO | SOUTHCO |
| --- | --- | --- | --- | --- | --- |
| 2014-15 | No of Consumers as on 1st April 2014 | 152862 | 215528 | 318026 | 307803 |
|  | Consumption in MU | 62.14 | 106.91 | 128.45 | 185.85 |
|  | Unit consumption per Person per year | 406.51 | 496.04 | 403.89 | 603.78 |
| 2015-16 | No of Consumers as on 1st April 2015 | 175671 | 209651 | 340762 | 369028 |
|  | Consumption in MU | 86.82 | 87.841 | 170.00 | 230.91 |
|  | Unit consumption per Person per year | 494.22 | 418.99 | 498.88 | 625.72 |
| 2116-17 | No of Consumers as on 1st April 2016 | 277560 | 246330 | 550000 | 521804 |
|  | Consumption in MU | 149.59 | 95.723 | 200.00 | 277.09 |
|  | Unit consumption per Person per year | 538.95 | 388.60 | 363.64 | 531.02 |

- The Commission has allowed Rs.15 crores towards special R & M for Smart Metering vide para 214 of RST order for FY 2014-15 for implementation of pilot project of Smart Grid. The status of the same may be submitted.

- The status of clearance by OPTCL on the issues like connectivity of the consumers mentioned in format T-9 may be submitted.

- (a) A detailed note on the Capex for effective analysis and information of the Commission in the following format may be furnished.

(b) System up-gradation completed in other schemes/funding may be furnished.

| PROGRESS OF CAPEX |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Sl. No. | Name of the Item | Work Executed during (Nos.) |  | Estimated Cost of the project | Amount Spend during FY 2013-14 in Rs. Lakhs |  | Amount Spend during FY 2014-15 in Rs. Lakhs |  |
|  |  | FY 2013-14 | FY 2014-15 |  | From Govt. Funding | From Own Resources | From Govt. funding | From Own Resources |
| 1 | Nos. of new Primary Sub Station |  |  |  |  |  |  |  |
| 2 | Nos. of Upgradation of existing Primary Sub Station |  |  |  |  |  |  |  |
| 3 | Breakers |  |  |  |  |  |  |  |
|  | (i) 33 kV |  |  |  |  |  |  |  |
|  | (ii) 11 kV |  |  |  |  |  |  |  |
| 4 | Nos. of Distribution transformer |  |  |  |  |  |  |  |
| 5 | Reconductoring of OH line conductor |  |  |  |  |  |  |  |
|  | (i) 33 kV |  |  |  |  |  |  |  |
|  | (ii) 11 kV |  |  |  |  |  |  |  |
| 6 | New OH line |  |  |  |  |  |  |  |
|  | (i) 33 kV |  |  |  |  |  |  |  |
|  | (ii) 11 kV |  |  |  |  |  |  |  |
| 7 | Energy Accounting |  |  |  |  |  |  |  |
|  | (i) Consumer Metering |  |  |  |  |  |  |  |
|  | (ii) System Metering |  |  |  |  |  |  |  |
| 8 | A.B. Cable and HVDS |  |  |  |  |  |  |  |
| 9 | IT Implementation |  |  |  |  |  |  |  |
| 10 | Special R&M of S/S |  |  |  |  |  |  |  |

- A statement regarding availability of the facility in the existing billing software to ascertain the realization of meter rent from the consumers and to discontinue the deduction of meter rent from the energy bills of consumers after realization of meter cost may be submitted.

- In view of the lower EHT sales projected by WESCO and CESU the licensees may furnish the details of open access availed by the industries belonging to their area of operation in the following format.

| Sl No. | Name of the Industry | Contract Demand | Total Consumption in during FY 2014-15 (Grid+Open Acess) | Open Access Availed during FY 2014-15 |  | Open Access Availed during FY 2015-16 till November, 2015 |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
|  |  | MW | MU | MW | MU | MW | MU |

- T-9 may be resubmitted by adding one more column containing last year consumption of individual industries.

- The slab wise revenue projected to be earned in case of domestic consumers is to be furnished in T-7 format.

FINANCE

- Note on Employees Cost;

- The details of component wise actual expenses on Employees cost including Pay, GP, Arrear salary, HR, pension, gratuity, leave and transfer to provident and other funds on monthly basis for FY 2016-17 shall be furnished. Similar details shall also be furnished for actual payment made for the current year upto the month of November, 2015. There has been a quantum jump in the Employee Basic and GP the justification of which may be furnished. HRA projection of Rs. 14.19 crore may also be furnished.

- SOUTHCO has shown recruitment of 72 Executives and 55 non executives during the current year FY 2015-16. The details of such recruitment along with justification, necessity and Board approval shall be furnished. Similar details of proposed recruitment of 25 Executives and 835 Non Executives during 2016-17 may also be furnished.

- An amount of Rs. 48.21 crore has been shown as miscellaneous expenses under the head A&G expenses (as shown in F-14). The details of such expenses may be furnished.  SOUTHCO has projected Additional A&G Expenses amounting to Rs. 34.77 crore. The Commission approves Special A&G for specific purpose such as customer care, AT&C loss reduction activities including Energy Audit, Automation/IT expenses, Inspection fee and compensation for electrical accidents. Therefore, special A & G projections in other heads may be justified especially special police stations, vigilance and anti theft activities. An amount of Rs.6.45 crore has been shown as projected expenditure towards special police stations and ETCC. A statement pertaining to amount realized due to intervention of special police stations and ETCC during the current FY may be furnished.

- A & G expenses details including energy audit and metering schemes may be furnished.

- An amount of Rs.103.12 crore has been projected towards R & M expenses. Month-wise expenses towards R & M for the current year up to November, 2015 shall be furnished along with the details of action taken.

- The amount of capital expenditure and addition to the fixed asset during FY 2015-16 amounts to Rs.255.02 crore and Rs.308.31 crore respectively ( F-2). Scheme wise details are given as under:-

| Proposed Capital exp. And addition of Fixed Assets FY 2015-16 | SOUTHCO |  |
| --- | --- | --- |
|  | Capital Exp. | Addition |
| Land Building Furniture and Fixtures | 2.66 | 2.66 |
| RE/LI/MNP |  | 1.84 |
| PMU |  | 3.86 |
| APDRP |  | 0.60 |
| RAPDRP (A) |  |  |
| RAPDRP (B) |  |  |
| S.I. Scheme |  | 3.34 |
| Deposit work | 9.75 | 5.44 |
| RGGVY |  |  |
| DDUGJY | 36.73 | 18.37 |
| NH | 1.8 | 0.95 |
| Biju Gram Jyoti |  |  |
| Biju Sahar BY |  |  |
| DESI (GoO) |  |  |
| RLTAP | 15.04 | 7.52 |
| Capex Plan (GoO) | 92.08 | 133.84 |
| IPDS | 21.59 | 10.80 |
| ODSSP | 33.25 | 16.63 |
| SCHOOL/ANGANWADI |  |  |
| Cyclone Restoration |  |  |
| Elephant corridor | 0.69 | 0.35 |
| Other works | 41.43 | 102.11 |
| Total | 255.02 | 308.31 |

SOUTHCO	 is required to furnish the actual expenditure as on date (till end of November 2015 in respect of Capital Expenditure and addition to Gross Fixed Asset during the FY 2015-16.

- The consumer security deposit as on 31.3.2015 (Ref: Balance Sheet at Form F-21) is shown at Rs.150.09 Cr The physical form of investment of such deposit since 1999-00 (year wise) in different financial instrument may be furnished.

- An amount of Rs.20.89 crore has been shown for the ensuing year 2015-16 under contractual and outsource obligation (F-12). Details of such calculation indicating the number of such employees, compensation per employee etc. along with actual expenses month-wise for the current till Nov, 2015 may be furnished. A short note on their responsibilities and effectiveness may be furnished.

- In the last RST order for FY 2015-16, the Commission approved Rs.22.50 as A & G expenses. However, it is now projected to spend Rs.65.73 cr. for FY 2016-17. The actual expenditure incurred during the current financial year on A & G expenses and additional A & G expenses with details with break up upto November, 2015 may be furnished.

- The availability of fund in Employees Trust Fund as on 31.3.2015 and its pattern of investment may be submitted. Further, the actual cash outflow towards terminal liability during FY 2014-15 and 2015-16 (actual upto November 2015) may be furnished.

- Month wise cash flow considering the revenue items only for FY 2014-15 and 2015-16 (actual upto November 2015) may be submitted.

- Details of investment made out of the available funds towards security deposit, pension trust and gratuity trust as on 31.3.2015 and upto November, 2015.

- A & G expenses upto 31.3.2015 may be given in the following format.

A & G Expenses – Audited Accounts upto 31.03.2015

| Name of the Licensees | Total A & G expenses | Other Expenses | Distribution Franchisee sharing of BOOT |
| --- | --- | --- | --- |
| WESCO |  |  |  |
| NESCO |  |  |  |
| SOUTHCO |  |  |  |
| CESU |  |  |  |

- The information on Bad & Doubtful debt upto 31.3.2015 may be given in the following format:-

Bad & Doubtful Debt- Audited Accounts upto 31.03.2014

| Name of the Licensees | Bad & Doubtful Debt | B & D Written off | Provision for disputed matter | Due from franchisee |
| --- | --- | --- | --- | --- |
| WESCO |  |  |  |  |
| NESCO |  |  |  |  |
| SOUTHCO |  |  |  |  |
| CESU |  |  |  |  |

- A detailed note on its effectiveness, revenue realized and expenses incurred on EPS should be given along with the information in the following format. Appropriate suggestion on continuance of EPS be furnished.

Functioning of Energy Police Station in  _______Area (Licensee Name)

| Sl No | Name of EPS | No. of Police Personnel Deployed | Sanctioned Strength | No of Cases Registered during FY 2016-17 up to Nov 2015 | Bills claimed by Govt of Odisha against the EPS during FY 2014-15 | Bills verified and paid by the Licensee during FY 2014-15 | Amount realised under section 135 for FY 2014-15 |
| --- | --- | --- | --- | --- | --- | --- | --- |
| 1 |  |  |  |  |  |  |  |
| 2 |  |  |  |  |  |  |  |
| 3 |  |  |  |  |  |  |  |

- What is the prevalent mandate and scope of Internal Audit mechanism in the company? Whether such audit is of concurrent nature. Copies of the reports of internal audit for last two years may be furnished.

- Year wise arrear analysis for last five years of consumers having arrear above 1 lakh may be furnished. Action plan and steps taken to collect such arrear may be furnished as directed in the latest business plan order.

- What is the Revenue Improvement Plan of the company? A short note on action plan shall be furnished.

- Specific computerization year wise programme with regard to billing, collection, and consumer interface shall be given.

- What are the ongoing training programmes of the employees at all level in order to enhance their skills to tackle billing, collection and technical difficulties on the ground?

- It is noticed that the gross debtors in the audited accounts does not match with the data submitted towards performance review. In this context information regarding the status of reconciliation of consumer ledger with the account ledger in respect of all the revenue earning divisions of company may be furnished.

Details of all the bank account no. of DISCOMs where revenue and all other receipts are accounted for may be furnished.

- Steps taken so far conducting audit of receivable by the licensee may be furnished.

- Steps taken and plan of action for digitalization of revenue flow starting from the section office of the DISCOMs to the corporate head office.

- The accountability of employees towards revenue collection is an important aspect for turnaround of the DISCOMs. In order to ensure that the tariff is collected and realized, division wise employee cost and revenue realized over last five years may be furnished along with the AT& C losses for each division. Action plan on turnaround of highest loss making division may also be furnished.

- Employee engaged in franchisee operated divisions may be furnished along with a note on their roles and responsibilities.

- The performance of franchisee operated divisions including expenses, revenue realized, MU handled for last two years may be furnished. A note on performance and constraints of franchisee operation for each division may be furnished.

- It is a matter of concern that in all the DISCOMs nearly half number of Divisions are earning less than the 50% of the expenses. The AT&C losses in many divisions are also unacceptably high leading to falling revenue and therefore unable to meet increasing expenses. In view of such backdrop DISCOMs shall furnish the data for last two years and projection for 2016-17in the following format:

| Name of Division | Cash Revenue collected from energy charges against bills | Input | Average Realization | Cash Expenditure including BSP+ salary + interest + others | Distribution loss | Overall AT&C loss | LT- AT&C Loss |
| --- | --- | --- | --- | --- | --- | --- | --- |

Note: Provide separate table for each year.

- As per OERC Tariff Regulation, 2014, the licensees are required to file true up based on the audited accounts by October ever year separately. No audited accounts for FY 2014-15 or true up has been submitted separately by the DISCOMs. DISCOMs are required to submit the audited accounts for FY 2014-15.

- Based on Audited/Provisional Accounts, division wise outstanding of arrear (including Provision for Doubtful Debt) as at 31-03-2015 may be furnished in the enclosed format (Annexure-I).

- Details of electricity duty collected and deposited in Govt. account during FY 2013-14, 2014-15 and 2015-16 (upto November, 2015) may be furnished.

- DISCOMS’s may segregate the revenue realized into Demand Charges & Energy Charges  for all the three broad revenue heads namely, EHT, HT & LT for the FY 2014-15(Accounts), FY 2015-16 (upto November, 2015) and target for FY 2016-17 and furnish the same in the following tabular form :

Revenue Segregated into Demand & Energy Charges      (Rs Crore)

| Name of DISCOM | EHT |  | HT |  | LT |  |
| --- | --- | --- | --- | --- | --- | --- |
|  | Demand/Fixed Charges | Energy Charges | Demand/Fixed Charges | Energy Charges | Demand/Fixed Charges | Energy Charges |
| CD |  |  |  |  |  |  |
| CESU |  |  |  |  |  |  |
| NESCO |  |  |  |  |  |  |
| WESCO |  |  |  |  |  |  |
| SOUTHCO |  |  |  |  |  |  |

Demand Charges in case of LT category may include the Monthly Minimum Fixed Charges.

***********

ODISHA ELECTRICITY REGULATORY COMMISSION

BIDYUT NIYAMAK BHAVAN

UNIT – VIII, BHUBANESWAR – 751 012

PBX : (0674) 2393097, 2396117

FAX : (0674) 2395781, 2393306

E-mail : orierc@rediffmail.com

Website : www.orierc.org

Case No. 59 of 2015/1656

Dt.28.12.2015

To,

The Managing Director,

SOUTHCO

Courtpeta, Berhampur

Dist : Ganjam

Sub:	Revenue Requirement and Tariff Application for the year 2016-17.

Sir,

On scrutiny of the above application, it has been noted that information and analysis with regard to a number of items which are extremely relevant for the purpose of scrutiny of Revenue Requirement and Tariff for the FY 2016-17 have not been furnished. A list indicating items on which information/clarification to be furnished is enclosed.

You are hereby directed to furnish the information on the queries raised in Annexure by 08.01.2016.

The queries raised in this letter along with the replies shall be supplied to all the persons who might have purchased the ARR and Tariff application of your DISCOM.

Yours faithfully,

Encl : As above.

SECRETARY