Summary of ARR & Tariff Filings

Submitted by

OHPC

For

FY 2012-13

SUMMARY OF ARR PROPOSAL OF OHPC FOR FY 2012-13

Installed Capacity

  - The total installed capacity of the various Hydro Stations owned by the Orissa Hydro Power Corporation (OHPC) is projected at 2062 MW for FY 2012-13 including Orissa’s share of Machkund.

The installed capacity of different generating stations as reported by OHPC for the FY 2012-13 is given in the table below.

Table – 1

Installed capacity of OHPC stations

| Sl. No. | Name of the Power Station | Installed Capacity (MW) |  |
| --- | --- | --- | --- |
|  |  | 2011-12 | 2012-13 |
| 1 | Rengali (RHEP) | 250.00 | 250.00 |
| 2 | Upper Kolab(UKHEP) | 320.00 | 320.00 |
| 3 | Balimela(BHEP) | 510.00 | 510.00 |
| 4 | Hirakud (HHEP) | 275.50 | 275.50 |
| 5 | Chiplima (CHEP) | 72.00 | 72.00 |
| 6 | Upper Indravati (UIHEP) | 600.00 | 600.00 |
| 7 | Machhakund (30% Orissa share) | 34.50 | 34.50 |
| Total |  | 2062.00 | 2062.00 |

## Design Energy of OHPC Stations

  - The Design Energy (DE) of a Hydro Power Station is an important parameter for determination of tariff.  The hydro power station wise design energy proposed by OHPC for consideration during FY 2012-13 ARR and Tariff determination is given in the following table.

## Table – 2

Design Energy for FY 2012-13

| Sl. No. | Name of the Power Station | Design Energy (DE) (In MU) | Design Energy for sale (MU) |
| --- | --- | --- | --- |
| 1 | RHEP | 525.00 | 519.75 |
| 2 | UKHEP | 832.00 | 823.68 |
| 3 | BHEP | 1183.00 | 1171.17 |
| 4 | HHEP | 684.00 | 677.16 |
| 5 | CHEP | 490.00 | 485.10 |
|  | SUBTOTAL OF OLD POWER STN. | 3714.00 | 3676.86 |
| 6 | UIHEP | 1962.00 | 1942.38 |
| Total |  | 5676.00 | 5619.24 |

Reservoir Level and Anticipated Generation for FY 2011-12

  - The reservoir level of Power stations  reported by OHPC as on 01.11.2011 vis-à-vis  on 01.11.2010 is given below

Table – 3

Reservoir Level and Anticipated Generation for FY 2011-12

| Sl No. | Reservoirs | As on 01.11.2010 | As on 01.11.2011 |
| --- | --- | --- | --- |
| 1. | Rengali | 118.81 (m) | 123.26 (m) |
| 2. | Kolab | 855.94 (m) | 849.76 (m) |
| 3. | Balimela | 1505.90 (ft) | 1463.00 (ft) |
| 4. | Hirakud | 629.08 (ft) | 627.31 (ft) |
| 5. | Indravati | 639.50 (m) | 630.70 (m) |

The actual generation of different power stations under OHPC up to 31.10.2011 and anticipated generation up to 31st March 2012 is also provided as given below in table-4, taking into consideration irrigation requirements.

Table -4

Actual /anticipated energy generation FY 2011-12

| Sl. No. | Name of the power stations | Actual generation from 01.04.11 up to 31.10.11 (MU) | Anticipated generation from 01.11.11 up to 31.03.12 (MU) | Total |
| --- | --- | --- | --- | --- |
| 1. | RHEP | 631.99 | 245.00 | 876.99 |
| 2. | UKHEP | 487.32 | 114.00 | 601.32 |
| 3. | BHEP | 876.55 | 154.00 | 1030.55 |
| 4. | HHEP | 522.16 | 157.00 | 679.16 |
| 5. | CHEP | 231.14 | 115.00 | 346.14 |
| 6. | UIHEP | 1222.13 | 310.00 | 1532.13 |
| Total |  | 3971.29 | 1095.0 | 5066.29 |

Project Cost

  - The revalued cost of old power stations under OHPC is Rs.1196.80 Crs as on 01.04.1996 as per the notification no 5207 dtd. 01.04.1996 of Department of Energy, Government of Orissa. The Commission in its Order dated 23.03.2006 at clause no. 5.4 (C) had approved the same. The historical cost of old power station of OHPC is Rs.479.80 Crores. Further, Hon’ble Commission, in the Order dated 20.03.2008 has approved Rs.1195.42 crores as final capital cost of UIHEP for the purpose of determination of tariff. The project cost of OHPC power stations reported  for computation of ARR for the FY 2012-13  is given in the table below:

Table- 5

Capital Cost proposed for FY 2012-13

(Rs. Crs.)

| Sl. No. | Name of the power stations | Historical cost of asset as on 01.04.96 | Revalued cost of assets as on 01.04.96 | New additions up to 2011-12 | Project cost considered for Tariff Calculation based on original cost | Project Cost based on revalued cost |
| --- | --- | --- | --- | --- | --- | --- |
| 1 | 2 | 3 | 4 | 5 | 6=3+5 | 7=4+5 |
| 1. | RHEP | 91.09 | 259.01 | 51.37 | 142.46 | 310.38 |
| 2. | UKHEP | 108.31 | 307.96 | 14.15 | 122.46 | 322.11 |
| 3. | BHEP | 115.42 | 334.66 | 210.61 | 326.03 | 545.27 |
| 4. | HHEP | 72.75 | 130.16 | 201.71 | 274.46 | 331.87 |
| 5. | CHEP | 92.23 | 165.01 | 43.31 | 135.54 | 208.32 |
|  | Total | 479.80 | 1196.80 | 521.15 | 1000.95 | 1717.95 |
| 6. | UIHEP | Approved project cost |  |  |  | 1195.42 |

## Determination of Annual Fixed Cost for FY 2012-13

  - Central Electricity Regulatory Commission (Terms and conditions of Tariff) Regulations, 2009 specifies methodology for computation of tariff for supply of electricity from a hydro generating station. The tariff shall comprise capacity charge and energy charge to be shared on 50:50 basis for recovery of annual fixed cost.

The Annual Fixed Cost of a hydro generating station shall consist of the following components:

- Return on equity (ROE)

- Interest on loan capital

- Depreciation

- Operation and Maintenance expenses

- Interest on working capital

- Return on equity (ROE):  Return on equity shall be computed on pre-tax basis at the base rate of 15.5% to be grossed up as per following formula.

Rate of pre-tax return on equity= 15.5% / (1-t)

Where “t” is the MAT rate payable by OHPC.

For FY 2012-13 it is 18.50%.

The minimum alternate tax rate payable by OHPC is 20.00775%, including surcharge (7.5%) and Cess (3%).

	Rate of return on equity = 15.50% / (1 – 0.2000775) = 19.3768%

The pre-tax return on equity @ 19.3768% has been considered for FY  	2012-13 for OHPC power stations.

Based on the order of the Hon’ble Commission vide case no. 64/2008 dated 20.03.09 at clause no. 181, the historical cost of assets as on 01.04.96 has not been considered for ROE. The new capital additions made by OHPC from 01.04.96 up to 31.03.2012 has been taken for calculation of ROE with an equity base 25% for HHEP and 30% for all other old power stations. For RHEP, the approved R&M cost of unit-1 has been considered for capitalization & computation of ROE. For UIHEP equity base of 25% on approved project cost minus infirm power cost has been considered for computation of ROE as given in the Table-6 below.

Table – 6

RoE proposed for FY 2012-13

(Rs.  cr.)

| Sl. No. | Name of the power station | New capital addition up to 31.03.2012 | Equity capital | Proposed for 2012-13 ROE @19.3768 % |
| --- | --- | --- | --- | --- |
| 1. | RHEP | 51.37 | 15.41 | 2.99 |
| 2. | UKHEP | 14.15 | 4.25 | 0.82 |
| 3. | BHEP | 210.61 | 63.18 | 12.24 |
| 4. | HHEP | 201.71 | 50.43 | 9.77 |
| 5. | CHEP | 43.31 | 12.99 | 2.52 |
|  | SUB TOTAL | 521.15 | 146.26 | 28.34 |
| 6. | UIHEP | Project cost 1194.79 | 298.70 | 57.88 |
| Total |  |  |  | 86.22 |

- Interest on loan: The loan liabilities on OHPC consist of state Government loans and PFC loans. The State Government loan outstanding as on 01.04.11  Rs. 4.19 Cr has been repaid in the FY 2011-12.

As per the order of the Commission  dated 20.03.2010 in case no. 147/2009, Hon’ble Commission vide Commission letter dated 27.01.10 has advised the State Government that  the effects of up-valuation of asset and moratorium on debt services of State Govt. loans may be kept in abeyance till end of FY 2012-13. i.e. end of Control Period of Business plan instead of 2010-11. The Government is agreed to modify the notification in line with the OERC suggestion. The revalued cost of the project has not been considered pending decision at Govt level subsequent decision of OERC on keeping in abeyance the effect of up valued cost of the project.

The OHPC has also availed PFC loans in connection with R & M projects of HHEP, Burla and extension project of BHEP, Balimela.

Based on Para 117 and Para 118 of OERC tariff order for the FY 2011-12 for 	OHPC, the 7% loan on UIHEP has not been considered by OHPC in the tariff 	of FY 	2012-13.

Since, 9.8% state Govt. loan has been repaid but, normative loans of the 	respective units are still pending so, normative loans of CHEP, RHEP & 	UKHEP is considered @ 9.8% as per Clause No. 5 of CERC Regulation, 	2009. However, since PFC loan is still prevailing in BHEP, Balimela an 	weighted average of 8.69% is considered for FY 2012-13.

The Hydro station wise interest payable on government / PFC loan and guarantee commission  for FY 2012-13 as reported by OHPC is presented in Table No 7 below.

Table – 7

Interest on loan and G.C for FY 2012-13

(Rs.  cr.)

| Sl. No. | Source of loan | Interest on loan and G.C for FY 2012-13 |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  | RHEP | UKHEP | BHEP | HHEP | CHEP | UIHEP | TOTAL |
| 1. | PFC loan | - | - | 4.86 | 1.95 | - | - | 6.80 |
| 2. | Normative loan | 3.10 | 0.64 | 2.18 | - | 1.19 | - | 7.11 |
| 3. | G.C. | - | - | 0.64 | 0.44 | - | - | 1.08 |
| Total |  | 3.10 | 0.64 | 7.67 | 2.39 | 1.19 | 0.00 | 14.99 |

- Depreciation

Depreciation is the refund of capital subscribed and is a constant charge against an asset to create a fund for its replacement. It is an important component of annual fixed cost of the generating station.

CERC Tariff regulation 2009-14 has specified rates for calculation of depreciation based on the capital cost admitted by the Commission.

OHPC has computed depreciation @ 2.57% on the historical project cost plus additional capitalization up to 2011-12 for FY 2012-13.

In case of HHEP and BHEP, since the loan repayment is more than computed depreciation @ 2.57%, the actual loan repayment has been considered to meet the requirement for repayment of principal loan installment. For UIHEP, Hon’ble Commission has allowed recovery of depreciation from balance depreciable value of the project spread equally over the balance life period of the project. Therefore, depreciation of Rs. 30.23 Crs. has been considered for FY 2012-13 for recovery through tariff. The Table 8 below presents the station-wise depreciation proposed by OHPC for FY 2012-13.

Table -8

Depreciation claimed for FY 2012-13

(in Rs Crs)

| Sl. No. | Name of the power station | Depreciation | Remark |
| --- | --- | --- | --- |
| 1 | RHEP | 3.66 | 2.57% |
| 2 | UKHEP | 3.15 | 2.57% |
| 3 | BHEP | 16.71 | Equal to loan repayment |
| 4 | HHEP | 7.05 | 2.57% |
| 5 | CHEP | 3.48 | 2.57% |
|  | Sub Total | 34.05 |  |
| 6 | UIHEP | 30.23 | Spread over useful life of the Plant. |
| Grand Total |  | 64.28 |  |

- Operation and Maintenance (O&M) expenses:

As per CERC Tariff Regulations 2009, normative O&M expenses shall be calculated with escalation of @5.72% per annum. O&M as per following is proposed by OHPC for FY 2012-13.

- O& M expenses allowed for the year 2011-12 escalated @ 5.72% to arrive at O & M expenses for the FY 2012-13.

- Corporate Office expenses amounting to Rs.13.09 Crs. have been apportioned to different Units under OHPC based on Installed Capacity and included in the O & M expenses for    FY 2012-13.

- 30% arrear salary and terminal liabilities of Corporate Office amounting to Rs. 2.67 Crs. has been apportioned to different units and included in the O & M Expenses for the Tariff proposal for FY 2012-13.

Table - 9

Statement of O&M Expenses for 2012-13

(Rs. cr.)

| Description | RHEP | UKHEP | BHEP | HHEP |  | CHEP | Subtotal | UIHEP | Total |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| O&M expenses for FY 2012-13 including arrear salary and terminal liabilities | 33.10 | 24.08 | 46.17 | 40.75 |  | 17.08 | 161.18 | 60.00 | 221.18 |
| O&M approved for 2011-12 | 29.04 | 20.72 | 38.52 | 36.55 | 15.34 |  | 140.16 | 54.24 | 194.40 |

- Interest on Working Capital

As per CERC Tariff Regulation 2009, the basis for calculation of working capital shall include the following:

  - Receivables equivalent to two months fixed cost.

  - Maintenance spares @ 15% operational and maintenance expenses and

  - Operation and maintenance expenses for one month.

The rate of interest on working capital considered for is the short-term prime-lending rate of SBI i.e. 14.75% for FY 2012-13. In accordance with CERC guidelines, the interest on working capital shall be payable on normative basis.

Table -10 below summaries the station wise interest on working capital as proposed by OHPC for FY 2012-13.

Table -10

Interest on Working Capital for FY 2012-13          (Rs Cr)

| Sl. No. | Description | RHEP | UKHEP | BHEP | HHEP | CHEP | SUB TOTAL | UIHEP | Total |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 1 | Receivables equivalent to two months of fixed cost | 7.51 | 5.04 | 14.42 | 10.49 | 4.25 | 41.71 | 25.66 | 67.37 |
| 2 | Maintenance spares @ 15% of expenses | 4.96 | 3.61 | 6.93 | 6.11 | 2.56 | 24.18 | 9.00 | 33.18 |
| 3 | O&M expenses for one month | 2.76 | 2.01 | 3.85 | 3.40 | 1.42 | 13.43 | 5.00 | 18.43 |
|  | Total working capital | 15.24 | 10.66 | 25.19 | 19.99 | 8.24 | 79.32 | 39.66 | 118.98 |
|  | Interest on working capital calculated @ 14.75% | 2.25 | 1.57 | 3.72 | 2.95 | 1.21 | 11.70 | 5.85 | 17.55 |

  - Application fee and the publication expenses:

As per the CERC tariff regulation 2009, the application filing fee and the expenses incurred on publication of notices may in the discretion of the commission, be allowed to be recovered by the generating company directly from the beneficiaries. As per the Commission notification no. 1992 on dated 31.08.2009 in the clause no. 17 Commission has fixed a fee of Rs. 5000/- per MW as application fee for determination of tariff of conventional fuel based plant/ hydel plants, subject to maximum limit of Rs. 25,00,000/- (Rupees Twenty five lakhs). As per above provision, the application fee and publication expenses proposed by OHPC for FY 2012-13 are given in table - 11 below.

Table -11

| Sl. No. | Application fee (lakhs) | Publication expenses (lakhs) | Total (lakhs) |
| --- | --- | --- | --- |
| 1 | 25.00 | 1.00 | 26.00 |

  - Total Annual Fixed Cost :

Based on the above parameters the station wise ARR and tariff calculated for the FY 2012-13 as indicated by OHPC is presented in the table -12 below.

Table -12

Station-wise ARR and Tariff for FY 2012-13

(Rs. cr.)

| Details expenses | RHEP | UKHEP | BHEP | HHEP | CHEP | Subtotal | UIHEP | Total |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Saleable Design Energy (MU) | 519.75 | 823.68 | 1171.17 | 677.16 | 485.10 | 3676.86 | 1942.38 | 5619.24 |
| Return on Equity | 2.99 | 0.82 | 12.24 | 9.77 | 2.52 | 28.34 | 57.88 | 86.22 |
| Interest on Loan | 3.10 | 0.64 | 7.67 | 2.39 | 1.19 | 14.99 | 00.00 | 14.99 |
| Depreciation | 3.66 | 3.15 | 16.71 | 7.05 | 3.48 | 34.05 | 30.23 | 64.28 |
| O&M expenses | 33.10 | 24.08 | 46.17 | 40.75 | 17.08 | 161.18 | 60.00 | 221.18 |
| Interest on working capital | 2.25 | 1.57 | 3.72 | 2.95 | 1.21 | 11.70 | 5.85 | 17.55 |
| Total ARR (Rs. in Crs.) | 45.09 | 30.26 | 86.51 | 62.91 | 25.49 | 250.26 | 153.96 | 404.22 |
| Average Tariff (p/u) | 86.75 | 36.73 | 73.87 | 92.91 | 52.55 | 68.06 | 79.26 | 71.93 |

Electricity duty on Auxiliary Consumption:

  - As per the agreed PPA between OHPC and GRIDCO, the taxes and duties including ED on auxiliary consumption etc payable by OHPC to the State Government and other statutory bodies shall be passed on to GRIDCO in the shape of supplementary bill raised by OHPC. GRIDCO will make payment accordingly within 30 days of receipt of bills. Accordingly, ED on Auxiliary consumption of all the hydro electric project to the tune of Rs.0.57 Crore is to be reimbursed to OHPC by GRIDCO. OHPC requested that Hon’ble Commission may approve the same.

License fee for use of water for generation of Electricity:

  - As per the gazette notification dt. 01.10.2010 OHPC has to pay Rs. 0.01/kwh as license fee on water used for generation of electricity from all Hydro Electric Project to the tune of Rs. 5.676 Crs. is to be reimbursed to OHPC by GRIDCO, based on design energy. OHPC further requested that since, the above calculation is based on design energy of Hydro Projects, the actual generation from OHPC Power Stations may be considered for reimbursement of license fee paid to Govt. of Orissa from GRIDCO. Hon’ble Commission may approve the same.

SLDC charges

  - As per CERC (fees & charges of regional load dispatch centre and other related matters) regulations, 2009 SLDC has to levy and collect annual charges from the users towards system operation charges and market operation charges. Hon’ble Commission has allowed Rs. 1.762 Crs. as SLDC charges for the Financial Year 2011-12 to be collected from OHPC. OHPC proposes Rs 1.86 Cr to provisionally be considered as fees and charges payable by OHPC to SLDC for the FY 2012-13.

  - Differential PFC Dues of BHEP

Due to variation in exchange rate OHPC  is loosing 0.76 Crs. towards payment of principal and 0.85 Crs. towards interest on the PFC loan repayment of BHEP for the financial year 2011-12. As per clause no 41 (Recovery of cost of hedging and foreign Exchange Rate Variation) of CERC regulation 2009, recovery of cost of hedging and foreign exchange rate variation shall be made directly by the generating company from the beneficiaries. Hence the Hon’ble Commission may approve the same to be reimbursed by GRIDCO.

  - Tariff for Machhkund H.E. (Jt.) Scheme

Machhkund Hydro Electric Project is a joint scheme of Government of Andhra Pradesh and Government of Orissa with 70% and 30% share with option of Government of Orissa to draw an additional 20% power at a cost of Rs. 0.08 P/U as per the inter state supplementary agreement in the year 1978 between Government of Andhra Pradesh and Government of Orissa. The proposed tariff of 30.51 P/U of Orissa drawl of Machhkund power for FY 2012-13 has been computed on cost reimbursement basis. The tariff proposed by OHPC is based on assumption that GRIDCO will draw power up to 50% of design energy of Machhkund equivalent to 262.50 MU.

Table -13 Proposed Tariff for Machhkund HEP (Jt scheme) FY 2012-13

| Installed Capacity (MW) | 114.50 |
| --- | --- |
| Orissa share as per Original Agreement (30%) | 34.50 MW |
| Net. Energy for sharing between Andhra Pradesh & Orissa | 525.00 MW |
| Expected Energy Drawl by Orissa (50%) | 262.50 MU |
| Energy Drawl of 30% of Orissa share | 157.50 |
| Purchase of Power up to 20% as per Supplementary Agreement | 105.00 |
| O&M Escalation factor @ 5.72% per year for 2 years | 1.1177 |
|  | (Rs. in Crs) |
| 1. O&M Exp. (Orissa share of Actual O&M Exp. For FY 10-11) | 6.414 |
| 2. O&M Exp for FY 2012-13 | 7.169 |
| 3. Power purchase cost of additional 20% above 30% Orissa Share | 0.84 |
| 4. Total Annual Expenditure (2 +3) | 8.009 |
| 5. Tariff (Paise/Kwh) | 30.51 |

Two-Part Tariff

  - As per Central Electricity Regulatory Commission (Terms and conditions of Tariff) Regulation 2009, the annual fixed cost of a power station shall be recovered through capacity charge (inclusive of incentives) and energy charge to be shared on a 50:50 basis.

  - The capacity charge (inclusive of incentive) payable to a hydro generating station for a calendar month shall be

Capacity charge (C.C) = AFC x 0.5 x NDM/NDY x PAFM/NAPAF in Rupees.

Where

AFC	= Annual Fixed Cost specified for the year in rupees

NAPAF= Normative Annual Plant Availability Factor in percentage

NDM	= Number of days in the month

NDY	= Number of days in the year

PAFM= Plant Availability Factor achieved during the month in   percentage.

The PAFM shall be computed in accordance with the following formula:

N

PAFM =10000 x   ∑ DCi       { N x IC x (100-Aux)} %

i=1

Where

Aux 	= Normative auxiliary energy consumption in percentage

N	= No of days in the month

IC	= Installed capacity in MW of the complete generating station

DCi	= Declared Capacity (in ex-bus MW) for the ith day of the month which the station can deliver for at least (3) hours, as certified by the nodal load dispatch centre after the day is over.

  - The energy charge shall be payable by every beneficiary for the total energy scheduled to be supplied to the beneficiary, during the calendar month on ex-power plant basis at the computed energy charge rate.

Total energy charge payable to the generating company for a month shall be

{(Energy charge rate in Rs./ Kwh) x (Schedule energy (ex-bus)) for the month in Kwh}

  - Energy charge rate (ECR) in Rupees per Kwh on ex-bus plant basis for a hydro generating station shall be determined up to three decimal places based on the following formula, subject provisions in clause(6) and (7) of Schedule-22 of CERC Tariff regulations 2009.

ECR = AFC x 0.5 x 10 / {DE x (100- Aux) x 100}

Where,

DE= 	Annual design energy specified for the hydro generating station in Mwh, subject to provisions in Clause-(6) of Schedule-22 of CERC tariff regulations 2009.

As per the CERC  Tariff regulation station wise capacity charge and energy charge proposed by OHPC for FY 2012-13 is presented in table -14 below.

Table -14

Capacity charge and energy charge of power stations

| Name of the power stations | Annual Fixed Cost (Rs. in Crs) | Capacity Charge (Rs. in Crs) | Energy Charge (Rs. in Crs) | Energy Charge Rate (p/u) |
| --- | --- | --- | --- | --- |
| Rengali HEP | 45.09 | 22.545 | 22.545 | 43.38 |
| Upper Kolab HEP | 30.26 | 15.13 | 15.13 | 18.37 |
| Balimela HEP | 86.51 | 43.255 | 43.255 | 36.93 |
| Hirakud HEP | 62.91 | 31.455 | 31.455 | 46.45 |
| Chiplima HEP | 25.49 | 12.745 | 12.745 | 26.27 |
| Upper Indravati HEP | 153.96 | 76.98 | 76.98 | 39.63 |

Normative Plant Availability Factor (NAPAF)

  - Hon’ble Commission in the order dated 02.11.2010 vide case no. 65/2010 has approved the NAPAF of OHPC Stations for the control period from 01.04.2009 to 31.03.2014 as given in the table -15  below . OHPC propose to consider the same NAPAF for FY 2012-13.

Table – 15

Station wise Normative NAPAF proposed for FY 2012-13

| Name of Power Stations | HHEP | CHEP | BHEP | RHEP | UKHEP | UIHEP |
| --- | --- | --- | --- | --- | --- | --- |
| NAPAF (%) | 78 | 75 | 85 | 75 | 85 | 88 |

Prayer

  - OHPC has proposed an annual revenue requirement of Rs. 404.22 Crs. for the FY 2012-13 with an average tariff of 71.93 paise/unit for consideration by the Hon Commission. This is against Rs. 382.18 Crs. annual fixed cost approved for 2011-12 with an average tariff of 68.01 paise/unit.