Summary of ARR & Transmission Tariff Filings

Submitted by

OPTCL

For

FY 2012-13

# Summary of OPTCL’s ARR & Transmission Tariff filing FOR FY 2012-13

- In exercise of powers conferred under Sections 39,131,133 and 134 of the Electricity Act, 2003 read with Sections 23 & 24 of the Orissa Electricity Reform Act, 1995, the State Government published the Orissa Electricity Reform (Transfer of Transmission and Related Activities) Scheme, 2005 (“Transfer Scheme”) in the Gazette dated 09.06.2005 which was effective retrospectively from 01.04.2005 wherein the Transmission Undertaking (the Undertaking related to the activities of Transmission, State Transmission Utility and State Load Dispatch Centre and acts incidental and ancillary thereto) of the Grid Corporation of Orissa Limited (Transferor), (now renamed GRIDCO Ltd.- “GRIDCO”) has been transferred and vested in Orissa Power Transmission Corporation Limited (“OPTCL”).

- As per Clause 10 of the Transfer Scheme, OPTCL is a deemed Transmission Licensee under Section 14 of the Electricity Act 2003 for undertaking the business to transmit electricity in the State of Odisha. OPTCL has also been notified as the State Transmission Utility and accordingly, shall discharge the State Load dispatch functions till further Orders of the State Government.

- As provided under Regulation 53 (1) at Chapter VIII of OERC (Conduct of Business) Regulations, 2004 and under Clause 19.3 of License Conditions of OPTCL approved by OERC vide Order Dated 27.10.2006 in Case No. 22 of 2006, OPTCL is required to submit its Annual Revenue Requirement Application for the ensuing year before Commission for approval. Accordingly, OPTCL has filed an application before the Commission for approval of its Annual Revenue Requirement & Transmission Tariff for FY 2012-13.

## Categorization of Open Access Customers

- All the customers seeking open access to OPTCL Transmission System are classified under two categories:

- Long Term Open Access Customers (LTOA Customers)

A Long Term Open Access Customer means a person availing or intending to avail access to the Inter-State/Intra-State Transmission System for a period of 25 years or more. Based on such premise, four DISCOMs & Captive Generating Plants (CGPs) happen to be the long term customers of OPTCL.

- Short Term Open Access Customers (STOA Customers)

Open access customers other than Long Term Customer(s) are classified as Short Term Customer(s). The maximum duration that a Short Term Customer can avail open access to the Inter-State / Intra-
State Transmission is one year with condition to reapply after expiry of the term.

## Details of Transmission Charge

- Currently, OPTCL owns 100 nos. grid sub-stations of different voltage classes and EHT transmission line of 11293.563 ckt. km. as shown in the table below.

Table-1

| Sub-Station and Line Details |  |  |
| --- | --- | --- |
| 400/220/132/33 kV SS | 1 |  |
| 400/220 kV SS | 1 |  |
| 220/132/33 kV SS | 14 |  |
| 220/132 kV SS | 1 |  |
| 220/33 kV SS | 4 |  |
| 220 kV Sw.S | 1 |  |
| 132 kV Sw.S | 3 |  |
| 132 kV Industrial LILO | 13 |  |
| 132/33 kV SS | 57 |  |
| 132/33/25 kV SS | 1 |  |
| 132/33/11 kV SS | 2 |  |
| 132/11 kV SS | 2 |  |
| Total No. of Sub-Stations | 100 |  |
| Voltage Level | Lines (ckt. km.) | Bays |
| 400 kV | 521.935 | 32 |
| 220 kV | 5483.925 | 223 |
| 132 kV | 5287.703 | 644 |
| 33 kV |  | 719 |
| 25 kV |  | 2 |
| 11 kV |  | 30 |
| Total | 11293.563 | 1650 |

- In a significant departure from the past, the Tariff Policy, 2006 framed under the Electricity Act 2003, has embodied the National Tariff Framework which provides that the transmission tariff is to be sensitive to distance, direction and related to quantum of power flow in a transmission service network. Para 7(1) (3) of the Tariff Policy provides for transmission charges, to be determined on MW per circuit kilometer basis, zonal Postage Stamp basis, or on the basis of some other pragmatic variant, the ultimate objective being to get the transmission system users to share the total transmission cost in proportion to their respective utilization of the transmission system. The overall tariff framework should be such as not to inhibit planned development/augmentation of the transmission system, but should discourage non-optimal transmission investment. Till date, OPTCL has been following the Postage Stamp Method for determination of its Transmission Charges. OERC has not yet framed any separate regulations for determination of Intra-State Transmission Tariff to be charged by a Transmission Licensee. In such a situation, OPTCL, the deemed Transmission Licensee is guided by the Central Electricity Regulatory Commission (CERC) Terms & Conditions of Tariff Regulations, 2009 applicable for Transmission Tariff. In view of the above, OPTCL has proposed its ARR & Transmission Tariff Application for FY 2012-13 as per the related provisions pertaining to the conduct of Business and Tariff determination as provided under OERC Regulations, 2004 dated 09.06.2004 and as per the CERC (Terms and Condition of Tariff) Regulation, 2009 respectively.

The costs of the deemed transmission licensee OPTCL for the FY 2012-13 for the purpose of determining the ARR and Transmission Tariff have been categorized under the following heads:

### (A) 	Fixed Charges:

- Operation & Maintenance (O & M) Expenses

- Interest on Loan Capital

- Depreciation

- Special appropriation

- Return on Equity

- Interest on Working Capital

(B)	Additional Expenses

- Contingency Reserve

- Provision for Bad Doubtful Debt

- Grid Co-ordination Committee (GCC) Expenses

- Incentive for System Availability

(C)	Pass through Expenses

### Other Expenses (Pass through of previous losses & liabilities)

## Details of Fixed Charges

- OPTCL proposes fixed charges for FY 2012-13 as Rs.1117.74 crore including O & M Expenses of Rs.789.93 crore, Interest on Loan Capital of Rs.102.54 crore, Depreciation of Rs.155.99 crore, Return on Equity of Rs.24.81 crore and Interest of Working Capital of Rs.44.47 crore.

O&M Expenses

## Employee Cost including Terminal Benefits

- The Employees expenses for FY 2012-13 has been projected by OPTCL at Rs.655.36 crore including terminal benefits of Rs.420.62 crore on the basis of (i) employee cost, (ii) terminal benefit liability of employees and existing pensioners and (iii) payment of differential pension and pensionary benefit liability.

- The employee cost details include salaries, dearness allowance, other allowances, reimbursement of medical expenses and house rent, leave travel concession, honorarium, payment under workmen compensation Act, Ex-gratia and misc. expenses, staff welfare expenses, provision towards 6th Pay Commission & wage revision arrear etc.

Administrative & General Expenses

- The A&G expenses for FY 2012-13 has been projected at Rs.39.11 rore.

Repairs & Maintenance Expenses

- OPTCL proposes Repairs and Maintenance (R&M) expenses for FY 2012-13 at Rs.95.46 crore. The details are given in the table below.

Table – 2

Repairs and Maintenance Expenses for FY 2012-13 (Rs. crore)

| Particulars | OERC Approval for FY 2010-11 | OERC Approval for FY 2011-12 | OPTCL Proposal FY 2012-13 |
| --- | --- | --- | --- |
| a) O&M |  |  | 54.03 |
| b) Telecom |  |  | 13.60 |
| c) Civil Works |  |  | 3.50 |
| d) Information Technology |  |  | 4.33 |
| e) Rolling Stock |  |  | 20.00 |
| Total R&M Expenses (a+b+c+d+e) | 60.00 | 75.00 | 95.46 |

## Interest on Loan Capital

- Interest on Loan for FY 2012-13 has been projected at Rs.102.54 crore by OPTCL.

## New Projects

- OPTCL proposes to spend Rs.936.43 crore during FY 2012-13 as capital expenditure on new projects towards O&M, telecom, information technology (IT), transmission project & construction (TP & Con.) and civil works. The details of Capital Expenditure for FY 2012-13 are given in the table below.

Table - 3

Projected Capital Expenditure for FY 2012-13

| Particulars | Amount (Rs. crore) |
| --- | --- |
| a) Telecom | 91.68 |
| b) O&M | 175.32 |
| c) Information Technology (IT) | 19.74 |
| d) Transmission Project & Construction (Excluding Deposit Works) | 612.50 |
| e) Civil Works | 37.19 |
| Total Capital Expenditure (a+b+c+d+e) | 936.43 |

  - CAPEX FOR TELECOM RELATED PROJECTS:

In order to have a dependable, safe and effective communication system, OPTCL has implemented its own Telecommunication Network through PLCC between each Grid Sub-station and generating stations and Microwave & Optic Fibre communication between Sub-LDC to SLDC, Bhubaneswar.  The PLCC systems adopted in OPTCL are generally considered to be very much economic, reliable and dependable for voice, data and carrier back-up protection facility. Due to limitation of frequency band for PLCC equipment and because of gradual complex grid system, action is also under progress to provide SCADA interface points at all the 220kV Grid S/S of OPTCL through OPGW connectivity as per the provisions made under amended OGC Regulations, 2006 dated 29th August 2008.The CAPEX requirement for Telecom Project (Capital Works) for FY 2012-13 is Rs.91.68 crore, the abstract of which is given in the table below.

Table – 4

CAPEX requirement for Telecommunication works in 2012-13

| Particulars | Amount (Rs. crore) |
| --- | --- |
| (i) Integration of 30 nos RTU | 24.63 |
| (ii) Provision of SCADA inter face at 220KV and above S/S | 54.05 |
| (iv) Reframing of Microwave by Optic Fibre | 13.00 |
| Total | 91.68 |

  - CAPEX FOR O & M RELATED PROJECTS:

An amount of Rs.175.32 crore has been proposed for the FY 2012-13 under Capital expenditure (CAPEX) basically by way of transformer capacity augmentation / substation capacity enhancement by installing third transformers in the existing Grid-Substations of OPTCL and augmentation of transmission lines. The details of item wise Capital expenditure for O&M related project is shown in the table below.

Table – 5

CAPEX for O&M Projects in FY 2012-13

| Sl. No. | Line/Equipment details | Unit Rate (in Rs lakh) | Quantity | Total Cost (in Rs.crore) |
| --- | --- | --- | --- | --- |
| 1 | Power Trf. (Nos.) |  |  |  |
|  | i) UPGRADATION & THIRD TRF. |  |  |  |
|  | a) 220/132KV,160 MVA | 650.000 | 1 | 6.50 |
|  | b)132/33KV,63 MVA | 300.00 | 14 | 42.00 |
|  | c)132/33KV,40MVA | 260.00 | 5 | 13.00 |
|  | d) 132/33KV,20MVA | 200.00 | 8 | 16.00 |
| 2 | Estimated cost for third transformer Bays (220kV,132kV & 33kV) (Phase-I, II, & III) |  |  | 15.90 |
| 3 | Installation of Capacitor Bank (Total 275MVAR at 20 Nos. of grid S/S) |  |  | 6.91 |
| 4 | Augmentation of Lines (in km.) |  |  |  |
|  | a) Upgadation of conductor of 220kV Budhipadar-Tarkera DC Line by AAAC Zebra equivalent Conductor | LS | 2 x 109 | 1.06 |
|  | b) Upgadation of conductor of 132kV Chandaka-Mancheswar Ckt-II by HTLS Conductor | 100 | 5.56 | 5.56 |
|  | c) Upgadation of conductor of 132kV Chandaka-Ranasinghpur Line by HTLS Conductor | 100 | 24.78 | 24.78 |
|  | d) Upgadation of conductor of 132kV Tarkera-Chhend DC Line by HTLS Conductor | 100 | 2 x 6.165 | 12.33 |
|  | e) Replacement of conductor of 132kV TTPS-Chainpal DC Line by New AAAC ( Panther equivalent ) conductor | LS | 2 x 3.0 | 0.03 |
|  | f) Upgadation of conductor of 132kV Burla PH-Budhipadar DC Line by AAAC Conductor | LS | 2 x 59.38 | 0.50 |
|  | g) Upgadation of conductor of 132kV Chandaka-Nimapara Line ( Upto Badagada LILO ) by HTLS Conductor | 100 | 30 | 30.00 |
|  | h) Upgadation of conductor of 132kV Chandaka-Khurda Line by AAAC Conductor | LS | 36.5 | 0.23 |
|  | I) Upgadation of conductor of 132kV Bhanjanagar-Aska DC Line by AAAC Conductor | LS | 2 x 32.93 | 0.28 |
|  | j) Upgradation of conductor of 132kV Khurda - Balugaon SC Line by AAAC Conductor | LS | 37 | 0.24 |
| TOTAL |  |  |  | 175.32 |

  - CAPEX FOR INFORMATION TECHNOLOGY RELATED PROJECTS:

Provision for an amount of Rs.19.74 crore is made for FY 2012-13 towards capital expenditure for Infrastructure development of IT and automation related fields etc. as given in the table below:

Table-6

Capex for IT Projects during FY 2012-13

| Sl. No. | Detailed Head |  | Rs crore |
| --- | --- | --- | --- |
| A | ERP |  | 3.87 |
|  | 1 | ERP-Licenses | 1.04 |
|  | 2 | ERP-Implementation | 2.83 |
| B | Portal services |  | 0.15 |
| C | Disaster Recovery |  | 5.00 |
| D | Primary Data Center |  | 6.89 |
|  | 1 | Computing Infr.( Servers) | 3.50 |
|  | 2 | Office Systems |  |
|  | a | PCs & Pheripherals | 3.14 |
|  | b | Lap Tops (Hqrs) | 0.10 |
|  | 3 | Electrical (Power system) | 0.09 |
|  | 4 | Furniture | 0.06 |
| E | Other IT |  | 2.45 |
|  | 1 | Document Management | 0.10 |
|  | 2 | IT Security | 0.50 |
|  | 3 | e-Tendering | 0.25 |
|  | 4 | Digitization | 0.10 |
|  | 5 | SMS based MIS system | 0.02 |
|  | 6 | Geographical Information System | 0.50 |
|  | 7 | ERP Legacy Data entry | 0.25 |
|  | 8 | Digital Logging and Local Display | 0.73 |
| F | Net working |  | 1.01 |
|  | 1 | WAN (VSAT) | 0.88 |
|  | 2 | LAN | 0.13 |
| G | FMS (Out sourced Services) |  | 0.36 |
| Total |  |  | 19.74 |

  - CAPEX FOR TRANSMISSION PROJECT & CONSTRUCTION:

It has been planned to spend an amount of Rs.651.50 crore on transmission related infrastructure during FY 2012-13 to increase the overall system capacity and to strengthen the transmission system network of the state, the details of which are shown in the table below.

Table- 7

CAPEX FOR TRANSMISSION PROJECTS & CONSTRUCTION

| Sl. No. | Loan / Scheme / Contract-wise Capital Works | Expenditure During FY 2011-12 |  |  | Projected Expenditure for FY 2012-13 |
| --- | --- | --- | --- | --- | --- |
|  |  | Actuals for First Six Months | Projection for balance Six Months | Total |  |
| 1 | 2 | 3 | 4 | 5=3+4 | 6 |
|  | (A) ONGOING SCHEMES |  |  |  |  |
| 1 | 400/220kV S/S at New Duburi |  | 1.00 | 1.00 | - |
| 2 | 400/220kV S/S Mendhasal |  | 1.40 | 1.40 | - |
| 3 | 400 kV S/S at Meramundali |  | 0.00 |  |  |
| 4 | 220/132kV S/S at Burla |  | 0.50 | 0.50 |  |
| 5 | 220/132 kV S/S at IB |  | 0.00 | - |  |
| 6 | 220/33kV 2nd 20MVA trf. with associated 132 & 33 KV bays at Barkote |  | 0.10 | 0.10 |  |
| 7 | 220/33kV s/s at Barkote by TPL |  | 0.00 | - |  |
| 8 | 220/33 kV s/s at Balimela |  | 0.00 | - |  |
| 9 | 2*100 MVA,220/132 kV S/S at Bhadrak & Associated LILO Line | 0.2 | 0.52 | 0.70 |  |
| 10 | Const. of 2Nos. 220 kv feeder bay at Balasore |  | 0.00 | - |  |
| 11 | Const. of 220/132 kv s/s Paradeep with associated line |  | 0.50 | 0.50 |  |
| 12 | 220/132kV s/s at Bolangir | 0.2 | 0.77 | 1.00 |  |
| 13 | Construction of 4th Auto at Chandaka | 0.0 | 0.27 | 0.30 |  |
| 14 | 132/33kV 40MVA trf. With associated 132 & 33 KV bays at Chhend s/s |  | 0.00 | - |  |
| 15 | 132/33kV,2x20 MVA s/s at Basta with associated 132KV Transmission lines | 0.7 | 0.50 | 1.23 |  |
| 16 | Constn. Of 132/33 kV s/s at Karanjia with associated lines | 0.4 | 0.50 | 0.93 |  |
| 17 | 132/33kV S/S Badagada | 0.0 | 0.49 | 0.50 |  |
| 18 | 132kV feeder bay extn at Hind Metals | - | 0.10 | 0.10 |  |
| 19 | 132/33kV s/s at Phulnakhara |  | 0.25 | 0.25 |  |
| 20 | 132/33kV S/S at Anandpur alongwith Transmission Line (New) | 0.2 | 1.84 | 2.00 |  |
| 21 | 132/33 Grid S/s at Kendrapara |  | 0.00 | - |  |
| 22 | 132/33kV s/s at Barapalli with associated lines |  | 0.00 | - |  |
| 23 | 2x12.5MVA,132/33 KV S/S at Akhusingh |  | 0.28 | 0.28 |  |
| 24 | 40 MVA,132/33kV s/s at Bidanasi | 0.0 | 0.78 | 0.80 |  |
| 25 | 2x12.5 MVA, 132/33 kv s/s at Nuapada with associated transmission line | 1.1 | 6.92 | 8.00 | 23.00 |
| 26 | 2x12.5 MVA 132/33 kv s/s at Dabugaon with associated transmission line | 0.8 | 7.23 | 8.00 | 11.00 |
| 27 | 2x12.5 MVA, 132/33 kv s/s at Padampur with associated transmission line | 0.9 | 5.02 | 5.90 | 19.00 |
| 28 | 2x12.5 MVA, 132/33 kv s/s at Kuchinda with associated transmission line | 0.6 | 8.36 | 9.00 | 9.00 |
| 29 | 2x12.5 MVA, 132/33 kv s/s at Bhawanipatna with associated transmission line | 0.6 | 8.87 | 9.50 | 9.00 |
| 30 | 2x12.5 MVA, 132/33 kv s/s at Boudh with associated transmission line | 1.1 | 8.94 | 10.00 | 23.00 |
| 31 | 2x12.5 MVA, 132/33 kv s/s at Purushottampur with associated transmission line | - | 3.00 | 3.00 | 10.00 |
| 32 | 2x12.5 MVA, 132/33 kv s/s at Chandpur with associated transmission line | 0.0 | 3.00 | 3.00 | 10.00 |
| 33 | 2x12.5 MVA, 132/33 kv s/s at Banki with associated transmission line | 0.0 | 2.99 | 3.00 | 10.00 |
| 34 | 2x12.5 MVA, 132/33 kv s/s at Kalunga with associated transmission line |  | 3.00 | 3.00 | 11.00 |
| 35 | 2x40 MVA, 220/33 kv s/s at Gopinathpur (Keonjhar) with associated lines |  | 3.00 | 3.00 | 24.00 |
| 36 | 2x100 MVA, 220/132/33 kv s/s at Kuanrmunda with LILO arrangement from existing 220 kV Budhipadar-Tarkera dc lines |  | 3.00 | 3.00 | 44.00 |
| 37 | 2x160MVA and 2x20MVA 220/132/33kV s/s at Lapanga with associated lines | 2.2 | 5.00 | 7.21 | 48.00 |
| 38 | 2x40 MVA, 220/33 kv s/s at Bonai with associated transmission line | 0.4 | 2.58 | 3.00 | 14.50 |
| 39 | 2x20 MVA, 132/33 kv s/s at Barbil with associated transmission line | 0.7 | 9.25 | 10.00 | 6.00 |
| 40 | 400kV DC line Ib-Meramundali | 9.5 | 5.00 | 14.49 |  |
| 41 | 400kV DC Line from Meramundali to Duburi |  | 0.10 | 0.10 |  |
| 42 | 400kV DC Line from Meramundali to Mendhasal |  | 0.02 | 0.02 |  |
| 43 | 220kV 2nd line from IB-Budhipadar |  | 0.00 | - |  |
| 44 | 220 kv line from Padmanvpur to Balasore |  | 0.20 | 0.20 |  |
| 45 | 220 kv line from Narendrapur-Chandaka with bay at Chandaka | 0.0 | 0.12 | 0.12 |  |
| 46 | 220kV line from Mendhasal to Bidanasi | 0.0 | 0.75 | 0.76 |  |
| 47 | 220kV DC line Budhipadar-Bolangir | 0.2 | 0.20 | 0.40 |  |
| 48 | 220kV DC Line Bidanasi-Cuttack | 0.7 | 4.29 | 5.00 | 8.00 |
| 49 | 220kV DC line Bolangir to Kesinga |  | 0.00 |  |  |
| 50 | 132kV line from Mancheswar to Badagada |  | 0.10 | 0.10 |  |
| 51 | 132kV line from Badagada to Uttara |  | 0.10 | 0.10 |  |
| 52 | 132kV line from Uttara to Sijua |  | 0.10 | 0.10 |  |
| 53 | 132KV Line from Jagatsinghpur to Paradeep | 2.5 | 2.47 | 5.00 | 8.00 |
| 54 | 132kV Hirakud LIlO Chipilima-Bergarh | - | 0.10 | 0.10 |  |
| 55 | Construction of 2nd Ckt from Loc. No. 116 of 132 kv Chandaka- Nimapada sc line to Nimapada grid with one no 132 kv bay extn. | 0.1 | 1.50 | 1.55 |  |
| 56 | Diversion of 132kV Line from Chandaka to Nimapara | 0.1 | 0.32 | 0.39 |  |
|  | TOTAL-A | 23.3 | 105.33 | 128.64 | 287.50 |
| (B) PROPOSED SCHEMES |  |  |  |  |  |
| 1 | Conversion of 132/11 kv grid s/s to 2x40 MVA 132/33 kv s/s 2x40 MVA 132 kv s/s at Sarasmal at Jharsuguda |  | 2.00 | 2.00 | 6.00 |
| 2 | 2x12.5 MVA, 132/33 kv s/s at Udala with LILO arrangement of Balasore- Baripada lines |  | 4.00 | 4.00 | 12.00 |
| 3 | 132 kv SC line from Salipur to Kendrapara |  | 1.00 | 1.00 | 8.00 |
| 4 | Constn. of 2x100 MVA 220/132 kv grid s/s at Cuttack, with 2 nos 220 kv feeder bay extn. at Bidanasi grid with linking arrangement at both ends. |  | 3.00 | 3.00 | 10.00 |
| 5 | Constn. of 2x20 MVA 132/33 kv s/s at Olaver and 2 nos 132 kv feeder bay extn. at Pattamundai with 132 kv DC line from Pattamkundai to Olaver | 0.1 | 3.00 | 3.10 | 10.00 |
| 6 | Constn. of 2x40 MVA 132/33 kv s/s at Marshaghai ( Luna) by making LILO arrangement from 1 circuit of existing 132 kv Kendrapara -Paradeep DC line | 0.1 | 1.91 | 2.00 | 6.00 |
| 7 | 2x100 MVA, 220/132/33 kv s/s at Dhamara with connectivity from Bhadrak s/s | 0.1 | 5.88 | 6.00 | 15.00 |
| 8 | 2x160MVA ,220/132kV and 2x20MVA 132/33kV S/s at Karadagadia with associated lines | 0.1 | 7.91 | 8.00 | 20.00 |
| 9 | 2x100MVA,220/132 KV S/s at Kesinga with 220DC line from Bolangir to Kesinga and one no. 220kV Bay Extension at Bolangir | 0.0 | 0.10 | 0.10 | 12.00 |
| 10 | Construction of 2x40MVA 132/33kV s/s at Khajuriakata near Hindol Road with associated transmission lines |  | 3.00 | 3.00 | 10.00 |
| 11 | 132kV LILO arrangement of 132kV SC line from Meramundali to Arati Steel to 132/33kV s/s , Nuapatna alongwith one no. of Feeder bay extension at Nuapatna |  | 1.00 | 1.00 | 5.00 |
| 12 | 2x20 MVA ,132/33 KV s/s at Konark with associated lines & 132kV feeder bay extension at Nimapara |  | 3.00 | 3.00 | 15.00 |
| 13 | Renovaion of existing 2/12.5 MVA ,132/33KV s/s at Ganjam |  | 0.50 | 0.50 | 3.00 |
| 14 | 2x160MVA, 220/132kV s/s at existing 400kV s/s. Mendhasal |  | 3.00 | 3.00 | 15.00 |
| 15 | Construction of 2*315MVA 400KV grid s/s at Lapanga with LILO of one circuit of 400kV Bisra -Raipur Line and Both circuit of IB -Thermal Meramundali 400kV Line at Lapanga |  |  | - | 15.00 |
| 16 | 2nos. 220KV feeders from 220/132/33kV s/s of OPTCL at Jayanagar to 400/220 kV s/s of PGCIL at Jayanagar with 2 nos. of 220kV bay extension at each end |  | 2.00 | 2.00 | 10.00 |
| 17 | Conversion of 132kV switching station at Somanathpur , Balasore to 2x20 MVA , 132/33kV S/s. |  | 1.00 | 1.00 | 6.00 |
| 18 | Construction of 2*100MVA & 2x40MVA , 220/132/33KV s/s at Puri with associated Line. |  | 0.50 | 0.50 | 15.00 |
| 19 | Construction of 2*100MVA , 220/132/33KV s/s at Pratapsasan near Balakati with associated 220KV DC LILO line of Proposed 220 KV Cuttack-Jatani Line.132KV DC line from Pratap Sasan to Phulnakhara with 2 Nos. of Bay at Phulnakhara |  | 1.00 | 1.00 | 15.00 |
| 20 | 132kV Dc line fron Baripada PGCIL(Kuchei ) s/s to Jaleswar s/s with 2 nos. 132kv bay extension each at Baripada PGCIL ( Kuchei) & ( Jaleswar) |  | 0.10 | 0.10 | 10.00 |
| 21 | Construction of 220/ 132/33kV s/s at Lahanda near Joda with construction of 132kV DC line from Lahanda to Barbil and two nos 132kV feeder bay extension at Barbil |  | 0.10 | 0.10 | 5.00 |
| 22 | 2x40MVA ,132/33kV s/s at Baliguda with construction of 132kV SC line from Phulbani to Baliguda and one no. 132kV feeder bay extension at Phulbani |  | 0.10 | 0.10 | 5.00 |
| 23 | 2x20 MVA, 220/33 kv s/s at Narsinghpur with LILO arrangement of 1 circuit of existing 220kV Bhanjanagar-Meramundali DC Line |  | 0.10 | 0.10 | 2.00 |
| 24 | one no. 220kV feeders from proposed 220/132kV s/s of OPTCL at Cuttack to proposed 400/220kV s/s at Uttara ( Jatni) with two nos.of 220kV feeder bay extension at each end |  | 0.20 | 0.20 | 4.00 |
| 25 | 132kV SC line to 132KV DC line from PGCIL s/s., Kuchei to 132/33kV s/s, Baripada |  | 0.10 | 0.10 | 4.00 |
| 26 | 3x40 MVA 132/33kV s/s at Chhatabara with associated 220kV LILO lines |  | 0.20 | 0.20 | 3.00 |
| 27 | 2X315MVA 400/220/33kV , 2x40MVA , 220/33kV s/s at Khuntini with associated transmission lines |  | 2.00 | 2.00 | 20.00 |
| 28 | 1x315MVA , 400/220kV , 1X20MVA , 220/33kV s/s at Nisa near Angul with construction of 400KV DC line by LILO of 400kV IB-Meramundali Line |  | 1.00 | 1.00 | 9.00 |
| 29 | 2x40MVA, 220/33kV s/s at Chhendipada with 220KV DC Line on Multi Circuit tower from proposed NISA S/S to Chhendipada |  | 1.00 | 1.00 | 10.00 |
| 30 | 2x12.5 MVA, 132/33 KV S/S Bangiriposi with LILO 1 Circuit Kuchei-Rairangpur line. (20 Kms.) |  | 0.10 | 0.10 | 2.00 |
| 31 | 2x12.5 MVA, 132/33 KV S/S at Potangi with S/C line on D/C tower for Sunabeda. (32 Kms.) |  | 0.20 | 0.20 | 2.00 |
| 32 | 2x12.5 MVA, 132/33 KV S/S at Podagada with LILO Rayagada-Jeypore line. (10 Kms.) |  | 0.20 | 0.20 | 2.00 |
| 33 | 2x20 MVA, 220/33 KV S/S at Govindpalli with LILO Balimela-Jayanagar line. (15 Kms.) |  | 0.20 | 0.20 | 2.50 |
| 34 | 2x12.5 MVA, 132/33KV S/S at Umarkote with S/C line on D/C tower from Dabugaon to Umarkote. (30 Kms.) |  | 0.20 | 0.20 | 2.00 |
| 35 | 2x12.5 MVA, 220/33 KV S/S at Kasipur with LILO one circuit Indravati-Theruvali 220kv D/C line. (2.0 Kms.) |  | 0.20 | 0.20 | 3.00 |
| 36 | 2x20 MVA, 220/33kV S/s at Jaypatna with associated line. (14 Kms.) |  | 0.20 | 0.20 | 2.00 |
| 37 | 132kV D/C line from Junagarh to Umerkote (40 Kms.) |  | 0.00 | - | 2.00 |
| 38 | 2x12.5 MVA, 132/33kV S/s at Kantabanji with S/C line on D/C tower from Khariar to Kantabanji. (35 Kms.) |  | 0.20 | 0.20 | 2.00 |
| 39 | 2x12.5 MVA, 132/33kV S/s at Champua with LILO arrangement of existing Palaspanga- Rairangpur to Champua. |  | 0.20 | 0.20 | 2.00 |
| 40 | 2x12.5 MVA, 132/33kV S/s at Ghatagaon with S/C line on D/C tower from Anandapur Grid S/S. (35 KMS.) |  | 0.20 | 0.20 | 2.50 |
| 41 | 132kV S/C line on D/C tower from Baliguda to Kesinga (60 Kms.) |  | 0.20 | 0.20 | 2.70 |
| 42 | Construction of 132 KV D/C line from proposed 220/132/33 KV S/S at Dhamara to proposed 132/33 KV S/S at Olavar & re-arrangement with proposed 132 KV D/C line from Pattamundai to Olavar to make 132 KV S/C line from Dhamara to Pattamundai & 132 KV S/C line from Olavar to Pattamundai. |  | 0.10 | 0.10 | 3.00 |
| 43 | 2X40 MVA 132/33kV Substation at CDA Cuttack with associated LILO line (4KM) |  | 2.00 | 2.00 | 5.00 |
| 44 | Construction of 132kV SC line on DC tower for making 2nd Circuit interconnection between Kattapali and Bargarh with associated 132kV bays |  | 0.10 | 0.10 | 1.30 |
| 45 | 2X20 MVA 132/33kV Substation at R.Udayagiri with 132kV line from Mohana with 132kV Bay extension at Mohana (40KM) |  | 0.10 | 0.10 | 3.00 |
| 46 | 2X20 MVA 132/33kV Substation at Muniguda with 132kV line from Vedanta Lanjigarh a with 132kV Bay extension at Lanjigarh (25KM) |  | 0.10 | 0.10 | 3.00 |
| 47 | 2X20 MVA 132/33kV Substation at Nandapur with 132kV line from Patangi with 132kV Bay extension at Patangi (35KM) |  | 0.10 | 0.10 | 3.00 |
|  | TOTAL-B | 0.4 | 53.30 | 53.70 | 325.00 |
| C | DEPOSIT WORKS |  |  |  |  |
| 1 | 220 kV DC line from Budhipadar to Basundhara MCL (Deposit Work) | - | 2.00 | 2.00 |  |
| 2 | Shifting of 132kV Chandaka SC Line (CKT 1& 4) crossing through P.No.391,392 &4622 under Gadkon Mouza ) ( Deposit Work) |  |  | - |  |
| 3 | Rly traction line from Jagatsingpur to Gorakhnath (Deposit work) |  |  | - |  |
| 4 | Diversion of 132kV Lines from Loc.No.30 to Loc. No.39 PPT line ( Deposit Work) |  |  | - |  |
| 5 | Constn. of Tomka Railway line from B.C. Mohanty & sons Ltd (D.W) | 0.4 |  | 0.43 | - |
| 6 | Constn. of 132 kv LILO line from Khurda-Puri for power supply to Samuka Beach near s/s Puri (D.W) |  | 3.00 | 3.00 | 10.00 |
| 7 | 132kV s/s at IIT, Argul |  | 3.00 | 3.00 | 21.00 |
| 8 | Diversion of 220 kv line from TTPS to Joda 4th crossing (D.W) |  |  | - |  |
| 9 | Diversion of Dhenkanal -Joranda road RTSS for clearance of right canal |  |  | - |  |
| 10 | Construction of 132KV SC line on DC tower from Theruvalli S/S to M/s. Utkal Alumina of Kuchipadar & B.E. At theruvalli ( D.W.) |  |  |  |  |
| 11 | Construction of 220KV DC line for Laxmipur S/s to Aditya Alumina kansariguda ( D.W.) |  |  | - |  |
| 12 | Construction of 220KV SC line on DC tower from laxmipur to M/s. Utkal Alumina At Doraguda ( D.W) |  |  |  |  |
| 13 | Construction of one no.220kV bay at Paradeep S/s for IOCL alongwith 220 kV transmission lines from Paradeep to IOCL | 1.3 | 7.00 | 8.32 | 8.00 |
| 14 | Power supply to Bansapani RTSS from Joda grid s/s | 0.4 |  | 0.39 |  |
| 15 | Power supply Keonjhar RTSS from Polasponga grid s/s | 0.5 |  | 0.49 |  |
| 16 | Re-routing of 132kV DC Line from Chandaka to Sijua for AIIMS |  |  | - |  |
| 17 | Diversion of 2 nos line due to proposed Talcher- Bimalgarh Rly Line |  |  | - | - |
| 18 | Diversion of DC line from Budhipadar to Jorabaga |  |  | - |  |
| 19 | Diversion of Paradeep-Haridaspur line ( Railway deposit ) | 2.9 | 5.00 | 7.87 |  |
| 20 | other deposit work & consumer contribution |  |  | - |  |
|  | TOTAL-C | 5.5 | 20.00 | 25.50 | 39.00 |
|  | TOTAL: (A+B+C) | 29.2 | 178.63 | 207.84 | 651.50 |

  - CAPEX FOR CIVIL WORKS:

OPTCL proposes capital expenditure of Rs.37.19 crore on Civil works during FY 2012-13 for on-going and new projects in its two Divisions i.e. Bhubaneswar and Burla.

## Depreciation

- OPTCL has projected Depreciation for FY 2012-13 considering the rate of depreciation prescribed by CERC on the book value of the Assets and additions thereto as per Regulation 17 (Chapter-III) of CERC Regulations, 2009. Accordingly, the transmission licensee has projected depreciation at Rs.155.99 crore based on the estimated book value of assets for FY 2012-13 (gross block as on 01-04-2011 plus projected addition during FY 2011-12).

Special Appropriation

- The Commission had allowed Special Appropriation of Rs.33.93 crore to meet Debt Service Obligation for FY 2011-12 as the depreciation was allowed based on the pre-92 rate.  For FY 2012-13, OPTCL has projected Rs. 155.99 Crore towards depreciation considering CERC Regulations, 2009 which will take care of principal repayment obligation.

Return on Equity

- At the time of de-merger of GRIDCO effective from 1.4.2005, the equity share capital of OPTCL was stated at Rs.60.07 crore. OPTCL has received Rs 100 crore (Rs.23.05 crore during FY 2008-09 + Rs. 5.00 crore during FY 2009-10 + Rs. 71.95 crore during FY 2010-11) from State Govt. as equity contribution for setting up transmission projects in remote areas. Therefore, the licensee has projected ROE @15.5% pre-tax basis on the equity share capital of Rs.160.07 crore which amounts to Rs.24.81 crore for FY 2012-13.

## Interest on Working Capital

- Based on CERC norms, OPTCL has calculated its working capital needs at Rs.370.61 crore for the FY 2012-13. Taking 12% as the rate of interest, interest on working capital amounts to Rs.44.47 crore for 2012-13. For the purpose of determination of working capital, OPTCL has taken into consideration the O&M expenses for one month, maintenance of spares at the rate of 15% of O & M expenses and receivables equivalent to two months of Fixed Cost.

## Additional Expenses

## Contingency Reserve

- A sum of Rs.15.10 crore has been projected for Contingency Reserve for the FY     2012-13.

## Provision for Bad & Doubtful Debts

- OPTCL proposes Rs.0.10 crore towards Bad & Doubtful Debts.

## Grid Co-ordination Committee Expenses

- As per provisions in Orissa Grid Code Chapter- 11, OPTCL formed Grid Coordination Committee (GCC) under it. Annual GCC expenses have been estimated at Rs.0.30 crore for the FY 2012-13.

## Incentive for System Availability

- The Regulation 25 to 29 under Chapter- 4 of CERC Regulations, 2009 specify the “Norms of Operation” applicable for generating stations (thermal and hydro) and transmission system for recovery of capacity charge, energy charge, transmission charge and incentive. OPTCL has proposed incentive for being able to make available the Transmission System more than 98% for the year 2010-11. The system availability of transmission network of OPTCL for FY 2010-11 has been worked out as 99.84%.  OPTCL has proposed the incentive of Rs.9.41 crore for FY 2010-11 to be allowed in this ARR.

## Pass through Expenses

- OPTCL has proposed a truing-up of the costs and revenue for the last five financial years starting FY 2006-07 based on audited accounts upto FY 2009-10 and provisional accounts for FY 2010-11. Excess net cost incurred over and above the approved cost is Rs.205.81 crore, which has been proposed to be recovered in the tariff as a pass through in the ARR of 2012-13.

## Other Income and Cost/ Miscellaneous Receipts:

- OPTCL estimates that it will earn Miscellaneous Receipts of Rs.18.00 crore during FY 2012-13. The same has been deducted from the gross revenue of OPTCL to arrive at the ARR for FY 2012-13, to be recovered from LTOA customers.

## Transmission Loss

- OPTCL proposes Transmission Loss at 3.80% for FY 2012-13; whereas actual transmission loss in April 2011 – September 2011 period was 3.82%. The Transmission loss of 3.80% in FY 2012-13 has been approved in the Business Plan.

- The summary of the proposed Annual Revenue Requirement against different heads for FY 2012-13 is tabulated below:

Table - 8

Summary of Annual Revenue Requirement of OPTCL for FY 2012-13

(Rs. crore)

| ITEMS | Proposal for OPTCL 2012-13 |  |
| --- | --- | --- |
| (a) FIXED COST |  |  |
| O&M Expenses |  | 789.93 |
| (i) Employees Cost including Terminal Benefits | 655.36 |  |
| (ii) R&M Cost | 95.46 |  |
| (iii) A&G Cost | 39.11 |  |
| Interest on Loan Capital |  | 102.54 |
| Depreciation |  | 155.99 |
| Special Appropriation |  | 0 |
| Return on Equity |  | 24.81 |
| Interest on Working Capital |  | 44.47 |
| Sub-Total (a) |  | 1117.74 |
| b) Additional Expenses |  | 24.91 |
| Contingency Reserve | 15.1 |  |
| Bad & doubtful debt Debts | 0.10 |  |
| GCC Expense | 0.30 |  |
| Incentive for system availability | 9.41 |  |
| Total Trans. Cost (a+b) |  | 1142.65 |
| c) Pass Through Expenses |  | 205.81 |
| d) Total Annual Revenue Requirement (a+b+c) |  | 1348.46 |
| e) Less Misc. Receipts |  | 18.00 |
| f) ARR to be recovered from LTOA Customers (d-e) |  | 1330.46 |
| OPTCL's Annual Revenue Requirement |  | 1330.46 |

## Expected Revenue from Transmission Charges

- The revenue receipts from various transmission charges at the existing transmission tariff of 25 P/U shall be Rs.608.59 crore. Revenue to be earned by OPTCL from wheeling of power to DISCOMs and other long term open access customers for FY 2012-13 at the existing rate is shown in the table below.

Table – 9

Revenue at existing tariff

| Sl. No | Customer | MU to be handled | Rate (P/U) | Transmission Loss (%) | Energy handled including Loss | Amount (in Rs. crore) |
| --- | --- | --- | --- | --- | --- | --- |
| 1 | CESU | 8532.67 | 25 | 0 | 8532.67 | 213.32 |
| 2 | NESCO | 5469.18 | 25 | 0 | 5469.18 | 136.73 |
| 3 | WESCO | 6500 | 25 | 0 | 6500 | 162.50 |
| 4 | SOUTHCO | 3430 | 25 | 0 | 3430 | 85.75 |
|  | Total DISTCOs | 23932 |  |  | 23932 | 598.30 |
| 5 | Emergency Sale to CGPs | 100 | 25 | 0 | 100 | 2.50 |
| 6 | Wheeling to industries from CGPs | 300 | 25 | 3.8 | 311.85 | 7.80 |
|  | Total | 24332 |  |  | 24344 | 608.59 |

## Excess or (Deficit) in the ARR:

- OPTCL has submitted that with its present Transmission Tariff structure consisting of Transmission Charge @25 P/U, it would not be able to meet its current costs and it may result in a deficit of Rs.721.87 crore as shown in table below.

Table - 10

Excess / Deficit of Revenue Requirement for FY 2012-13  (Rs. crore)

| Total Annual Revenue Requirement | 1330.46 |
| --- | --- |
| Less : Revenue earned from Long Term Open Access Customers | 608.59 |
| Deficit of Revenue Requirement for FY 2012-13 at the existing Wheeling Rate @ 25 P/U | -721.87 |

- The licensee, therefore, submits this application before the Commission with a request to approve its proposed ARR and the Transmission Tariff and Transmission Loss for FY 2012-13

## Proposed Tariff to Meet the Revenue Requirement for FY 2012-13

- OPTCL has proposed Transmission tariff recovery in Rs./unit Approach.

- In Rs. per unit approach the Transmission Tariff is determined by dividing the Total ARR with the Total energy handled /Wheeled in the system in MU. For FY 2012-13 Transmission Tariff is computed as 54.68 P/U as worked out in the Table below.

Table – 11

Computation of Transmission Tariff

| (a) Total Annual Revenue Requirement in Rs. Crore | 1330.46 |
| --- | --- |
| (b) Total Million Units proposed for Wheeling in MU | 24332 |
| Proposed Transmission Tariff (P/U) = (a/b) | 54.68 |
| Existing transmission tariff (P/U) | 25.00 |
| % Rise over existing transmission tariff | 118% |

Open Access Charges

- The Hon’ble Commission has notified the Open Access Regulation under section 42 (2) of the Electricity Act, 2003. Consumers availing open access shall be required to pay the transmission charges for use of the transmission lines and substations of OPTCL. The Long Term Transmission Charge on the basis of MW flow is calculated by the formula as provided in the OERC (Determination of Open Access Charges) Regulations 2006 dated 06.06.2006.

- The revenue from Short Term Open Access Charges earned from Short Term Open Access Customers is uncertain and therefore, OPTCL has not factored the same in to the Miscellaneous Receipts proposed in this application. It is submitted that the Short Term Open Access Charges is proposed and that the same will be adjusted in the revenue as year-end-adjustments at the end of the year on actual basis. Therefore, OPTCL considers Short Term Access Charges as Nil in this Application.

- Based on the above, OPTCL proposes the LTOA charges and STOA charges as given in the table below. Besides these Charges, the Open Access customers are also required to pay any other charges as determined by the Commission as per provisions under Chapter-II (CHARGES FOR OPEN ACCESS) of the Regulations 2006.

Table - 15

Abstract of OA Charges proposed by OPTCL for FY 2012-13

| DETAILS | In Rs./unit approach |
| --- | --- |
| Net Annual Revenue Requirement (Rs. cr.) | 1330.46 |
| Proposed Energy to be transmitted in OPTCL Network (MU) | 24332 |
| Proposed Transmission Tariff (P/U) | 54.68 |
| Power flow (equivalent of 24332 MU) in MW | 2778 |
| Long term Open Access Charges in terms of Rs./MW/Day | 13123 |
| Short term Open Access Charges in terms of Rs./MW/Day | 3281 |

Reactive Energy Charges:

- As per Regulation 4 (5) (i) under Chapter-II (CHARGES FOR OPEN ACCESS) of the Regulations 2006, the Hon’ble Commission shall separately determine charges for KVArh consumption from the grid in terms of paise/unit and the Open Access Customers shall pay the same.

## Rebate:

- On payment of monthly bill, the Open Access Customer shall be entitled to a rebate of Two percent (2%) of the amount of the monthly bill (excluding arrears), if full payment is made within two working days (excluding holidays under N.I. Act) of the presentation of the bill and one percent (1%) of the amount if paid within 30 days of the presentation of the bill.

## Delayed Payment Surcharge:

- The monthly charges as calculated above together with other charges and surcharge on account of delayed payments, if any, shall be payable within 30 days from the date of bill. If payment is not made within the said period of 30 days, delayed payment surcharge at the rate of 2% (two percent) per month shall be levied pro-rata for the period of delay from the due date, i.e. from the 31st day of the bill, on the amount remaining unpaid (excluding arrears on account of delayed payment surcharge).

## Duties and Taxes:

- The Electricity Duty levied by the Government of Odisha and any other statutory levy/ duty/ tax/ cess/ toll imposed under any law from time to time shall be charged over and above the tariff.

- Summary of Transmission Tariff Proposal:

OPTCL’s proposal for FY 2012-13 are:

# Annual Revenue Requirement at Rs.1330.46 crore.

# Recovery of Transmission Charge @ 54.68 P/U.

# Transmission Loss for wheeling as 3.80% on energy drawal.