INFORMATIONS

1 . Type of cycle adopted by C.G.P. and type of fuel being used by C.G.P

a . Type of cycle - Bottoming cycle

b . Type of fuel – Waste heat and supplemented by fluidized bed combustion for steam  generation

2 . Auxiliary consumption by C.G.P in ( % ) : 10-12 %

DOCUMENTS ENCLOSED

| SL. NO. | DESCRIPTION |
| --- | --- |
| 1 | Quantum of generation from C.G.P.s duly certified by Electrical Inspector for the year 2009-10 & 2010-11. |
| 2 | Heat flow data for the year 2009-10 & 2010-11. |
| 3 | Neat and detail block/ flow diagram of co-generation process followed in C.G.P. |
| 4 | Due certification from Boiler Inspector regarding the kind of Boiler being used and details of boiler duly certified by Factories & Boiler Directorate. |